# ANNEX II + III:	 TECHNICAL SPECIFICATIONS + TECHNICAL OFFER

# Contract title: Supply of Medical Equipment and Consumable	p 1 /…

Publication reference: 011/CUAMM/ETH/2023

Columns 1-2 should be completed by the contracting authority

Columns 3-4 should be completed by the tenderer

Column 5 is reserved for the evaluation committee

Annex III - the contractor's technical offer

The tenderers are requested to complete the template on the next pages:

- Column 2 is completed by the contracting authority shows the required specifications (not to be modified by the tenderer),

- Column 3 is to be filled in by the tenderer and must detail what is offered (for example the words ‘compliant’ or ‘yes’ are not sufficient)

- Column 4 allows the tenderer to make comments on its proposed supply and to make eventual references to the documentation

The eventual documentation supplied should clearly indicate (highlight, mark) the models offered and the options included, if any, so that the evaluators can see the exact configuration. Offers that do not permit to identify precisely the models and the specifications may be rejected by the evaluation committee.

The offer must be clear enough to allow the evaluators to make an easy comparison between the requested specifications and the offered specifications.

Lot 1 Medical Consumables– Unit price

| 1. Item number | 2. Specifications required | 3. Specifications offered | 4. Notes, remarks, ref to documentation | 5. Evaluation committee’s notes |
| --- | --- | --- | --- | --- |
| 1 | ABO blood group regent (pk of 5) Delivery: Addis Ababa Expire : More than 12 Months |  |  |  |
| 2 | Hematocrit test tube (pk of 100) Delivery: Addis Ababa Expire : More than 12 Months |  |  |  |
| 3 | Pipet tip “yellow”: Polypropylene, Yellow in color, Capacity 1- 200mcl, disposable non sterile, 5 years’ shelf life Delivery: Addis Ababa Expire : More than 12 Months |  |  |  |
| 4 | RPR test kit for syphilis (box 25) Delivery: Addis Ababa Expire : More than 12 Months |  |  |  |
| 5 | HBsAg test kit (box 25) Delivery: Addis Ababa Expire : More than 12 Months |  |  |  |
| 6 | HCsAg test kit (box 25) Delivery: Addis Ababa Expire : More than 12 Months |  |  |  |
| 7 | non anticoagulant test tube (box 12) Delivery: Addis Ababa Expire : More than 12 Months |  |  |  |
| 8 | Examination glove (box 100) Delivery: Addis Ababa Expire : More than 12 Months |  |  |  |
| 9 | Cotton roll 500gm Delivery: Addis Ababa Expire : More than 12 Months |  |  |  |
| 10 | Alcohol 95% (bottle) Delivery: Addis Ababa Expire : More than 12 Months |  |  |  |
| 11 | Sodium chloride powder (sack) Delivery: Addis Ababa Expire : More than 12 Months |  |  |  |
| 12 | Hemaque micro-cuvette: designed micro cuvettes, the HemoCue Hb 301 Micro cuvettes. The HemoCue Hb 301 System is for In Vitro Diagnostic use only. The HemoCue Hb 301 Analyzer is only to be used with HemoCue Hb 301 Micro cuvettes. Delivery: Addis Ababa Expire : More than 12 Months |  |  |  |
| 13 | Hemoglobin test strip compatible with “Hemoglobin screening meter” Delivery: Addis Ababa Expire : More than 12 Months |  |  |  |