ANNEX II + III: TECHNICAL SPECIFICATIONS + TECHNICAL OFFER

Contract title: Supply of Medical Drugs, Laboratory Reagents, Medical Consumables and Medical Equipment	p 1 /…

Publication reference: 02/CUAMM/ETH/2024/

Columns 1-2 should be completed by the contracting authority Columns 3-4 should be completed by the tenderer

Column 5 is reserved for the evaluation committee

Annex III - the contractor's technical offer

The tenderers are requested to complete the template on the next pages:

- Column 2 is completed by the contracting authority shows the required specifications (not to be modified by the tenderer),

- Column 3 is to be filled in by the tenderer and must detail what is offered (for example the words ‘compliant’ or ‘yes’ are not sufficient)

- Column 4 allows the tenderer to make comments on its proposed supply and to make eventual references to the documentation

The eventual documentation supplied should clearly indicate (highlight, mark) the models offered and the options included, if any, so that the evaluators can see the exact configuration. Offers that do not permit to identify precisely the models and the specifications may be rejected by the evaluation committee.

The offer must be clear enough to allow the evaluators to make an easy comparison between the requested specifications and the offered specifications.

LOT 1–Essential Drugs/medications for CUAMM Health Facility

| 1. Item number |  | 2. Specifications required | 3. Specifications offered TO BE FILLED BY THE SUPPLIER | 4. Notes, remarks, ref. to documentation | 5. Evaluation committee’s notes |  |
| --- | --- | --- | --- | --- | --- | --- |
| Antibiotics |  |  |  |  |  |  |
| 1 | Adrenaline Specifications: 1mg/1ml injection Unit: ampoules Quantity: 100 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 2 | Amoxacillin Specifications: 250mg/5ml suspension Unit: bottle of 100ml Quantity: 3000 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 3 | Amoxicillin Specifications: 500mg capsule Unit: 10*50 Quantity: 100 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 4 | Amoxicillin + Clavulanic acid Specifications: (250mg + 62.5mg)/5ml suspension Unit: bottle of 100ml Quantity: 500 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 5 | Albendazole Specifications: 100mg/5ml suspension Unit: bottle of 20ml Quantity: 500 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 6 | Azithromycin Specifications: 500mg tablet Unit: pk of 3 Quantity: 1000 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 7 | Azithromycin Specifications: 200mg/5ml - Oral Suspension Unit: bottle of 15ml Quantity: 500 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 8 | Azithromycin Specifications: 250mg tablet Unit: Pk of 6 tablets Quantity: 500 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 9 | Ceftriaxone Specifications: 1gm injection IV/IM with diluent Unit: Vial Quantity: 1000 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 10 | Cephalexin Specifications: 125mg/5ml suspension Unit: Bottle of 100ml Quantity: 1000 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 11 | Cephalexin Specifications: 500mg capsule Unit: Pk of 100 capsule Quantity: 100 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 12 | Chloramphenicole + Dexamethasone Specifications: (0.5%+0.1%) eye drop Unit: Bottle of Quantity: 100 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 13 | Ciprofloxacin Specifications: 0.3% eye /ear drop Unit: bottle Quantity: 1000 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 14 | Clotrimazole - Specifications: 1% skin cream Unit: Tube Quantity: 300 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 15 | Cloxacillin Specifications: - 125 mg/5 ml – Suspension Unit: bottle of 100ml Quantity: 1000 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 16 | Cloxacillin Specifications: 250mg/5ml suspension Unit: Bottle of 100ml Quantity: 1000 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 18 | Cloxacillin Specifications: 500mg capsule Unit: box of 1000 capsule Quantity: 50 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 19 | Chlorpheniramine Specifications: 4mg tablet Unit: Pk of 100 tablets Quantity: 50 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 20 | Chlorpheniramine Specifications: 2mg/5ml syrup Unit: Bottle of 100ml Quantity: 300 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 21 | Clarithromycin Specifications: 500mg tablet Unit: Pk of 100 tablets Quantity: 10 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 22 | Diclofenac Sodium Specifications: 25mg/ml in 3ml injection Unit: Pk of 100 Ampules Quantity: 30 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 23 | Diclofenac Sodium Specifications: 50mg tablet Unit: Pk of 100 tablets Quantity: 100 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 24 | Diphenhydramine Specifications: 12.5/5ml oral syrup Unit: bottle of 100ml Quantity: 300 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |  |
| 25 | Dexamethasone Specifications: 4mg/ml 1ml injection Unit: Ampoule Quantity: 500 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 26 | Doxycycline Specifications: 100mg capsule Unit: Pk of 100capsules Quantity:100 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 27 | Erythromycin Specifications: 250mg/5ml - Oral Suspension Unit: bottle of 100ml Quantity:500 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |  |
| 28 | Erythromycin Specifications:500 mg tablet Unit: pk of 100 tablets Quantity:50 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |  |
|  | Ferrous Sulphate + Folic AcidSpecifications: (200mg + 0.4mg) - Tablet Unit: pk of 100 tablets Quantity:1000 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |  |
| 29 | Heam up Specifications: oral syrup Unit: bottle of 200ml Quantity:500 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |  |
| 30 | Gentamicin Specifications: 0.3% - Eye/Ear drop Unit: boottle Quantity:500 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |  |
| 31 | Hydralazin hydrochloride Specifications: 20mg/ml injectiom Unit: ampoule Quantity:50 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 32 | Hydrocortisone Specifications: 100mg injection Unit: Vial Quantity: 600 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |  |
| 33 | Hydrocortisone Specifications: 15 mg cream Unit: Tube Quantity: 500 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |  |
| 34 | Ibuprofen Specifications: 400mg tablet Unit: Pk of 100 tab Quantity: 200 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |  |
| 35 | Ibuprofen Specifications: 100mg/5ml suspension Unit: bottle of 100ml Quantity: 700 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |  |
| 36 | Ketoconazole Specifications: 2% cream Unit: Tube Quantity: 1000 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |  |
| 37 | Magnesium Sulphate Specifications: 50% injection Unit: ampoule Quantity: 50 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |  |
| 38 | Metoclopramide Specifications: oral drop Unit: Bottle of 20ml Quantity: 200 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |  |
| 39 | Metronidazole Specifications: 125mg/5ml oral suspension Unit: Bottle Quantity:300 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |  |
| 40 | Metronidazole Specifications: 250 mg capsule Unit: Pk of 1000 Quantity: 100 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 41 | Multivitamins Specifications: oral syrup Unit: bottle of 100ml Quantity: 500 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |  |
| 42 | Norfloxacin Specifications: 400mg tablet Unit: Pk of 100 Quantity: 200 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |  |
| 43 | Omeprazole Specification 20mg capsule Unit ; pk of 100 Quantity; 1000 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |  |
| 44 | Tetracycline Specifications: 3% skin ointment Unit: Tube Quantity: 500 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 45 | Tetracycline Specifications: 1% eye ointment Unit: Tube Quantity: 2000 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 46 | Paracetamol Specifications: 120mg/5ml syrup Unit: Bottle Quantity: 3000 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 47 | Paracetamol Specifications: 125mg suppository Unit: Pk of 100 Quantity: 10 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 48 | Prednisolone 5mg tablet Specifications: 5mg/tablet Unit: Tin of 1000 tablets Quantity: 20 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 49 | Oral Rehydration Salt Specifications: Oral rehydration salt with zink compassion. Unit: pk of 100 Quantity: 100 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 50 | Chlorpheniramine Specifications: 4mg tablet Unit: Pk of 100 Quantity: 50 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 51 | Diazepam Specifications: 10mg/2ml Unit: Ampoule Quantity: 100 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 52 | Alumunium hydroxide + Magnesium hydroxide + Simeticone Specifications: (225+200+50) mg in 5ml suspension Unit: Bottle Quantity: 1000 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 53 | Omeprazole Specifications: 20mg (enclosing e/c granules) capsule Unit: Pk of 100 Quantity: 55 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 54 | Lidocaine injection Specifications: 2% in 20ml Unit: Vial Quantity: 100 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 55 | Dextrose Specifications: 5% in 0.9% Sodium chloride injection with giving Set Unit: 1000ml Quantity: 100 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 56 | Sodium chloride Specifications: 0.9% injection with giving set Unit:1000ml Quantity: 300 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  | 1 |
| 57 | Salbutamol Specifications: oral inhalation (Aerosol) 0.1mg per dose Unit: Bottle Quantity: 500 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 58 | Artemeter 20mg &lumefantrine 120mg Specifications: 1x24 tablet Unit: Pack of 30 strip Quantity: 100 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 58 | Chloroquine phosphate Specifications: 250 mg tablet Unit: pk of 100 Quantity: 50 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 59 | Premaquine phospate Specifications: 15 mg tablet Unit: Pk of 100 Quantity: 50 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 60 | Premaquine phospate Specifications: 7.5 mg tablet Unit: Pk of 100 Quantity: 50 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 62 | Folic Acid 5mg tablet Specifications: 5 mg tablet Unit: Pk of 100 Quantity: 10 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 63 | Ferous sulphate drops Specifications: 75mg/5ml drop Unit: Bottle Quantity: 240 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 64 | Chlorhexidine jell Specifications: 25g Unit: Tube Quantity: 100 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 65 | Water for injection Specifications: 10ml Unit: Ampoule Quantity: 1000 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 66 | Vitamin K Specifications: 10mg/ml injection Unit: Ampoule Quantity: 200 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 67 | Cimetidine Specification; 400mg/2ml injection Unit: Ampoule Quantity: 1000 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 68 | Cimetidine Specification; 400mg tablet Unit: PK of 100 Quantity: 100 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 69 | Ranitidine Specification; 150mg tablet Unit: PK of 100 Quantity: 100 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 70 | Ergometrine Specification; 10mg/1ml injection Unit: ampoule Quantity: 100 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 71 | Oxytocin Specification; 10unit/1ml injection Unit: ampoule Quantity: 100 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 72 | Fucidic acid Specification; cream Unit: tube Quantity: 300 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 73 | zinc sulphate Specification;20mg tablet Unit: pk of 100 Quantity: 300 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| LOT 2–Medical Equipment for the Health Center |  |  |  |  |  |  |
| 1 | Autoclave machine 24 liter with 2-3tay Specifications: Steam sterilizer 24 liter, 2-3 try, manual closing, inbuilt printer, Digital sterilization cycle recorder (SD & USB), Chamber size: 24 L, over heat protection, Pressure overload protection, Pressure safety valve, and pressure auto-lock, benchtop, Unit: pcs Quantity: 2 Expires Date: N/A Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 2 | Neonate weight scale(Salter scale) Specifications: 100gm division, horizontal height scale on the weight, pan type Unit: pcs Quantity: 5 Expires Date: N/A Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 3 | Digital infant weight scale Specifications: 5-digit display suitable for highly-visible readouts, easily cleanable, made of easily cleanable fiber pan, graded height scale in the pan, Unit: pcs Quantity: 3 Expires Date: N/A Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 4 | Pulse oximeter (child) Specifications: Table stand, rechargeable, Unit: pcs Quantity: 5 Expires Date: N/A Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
|  | Pulse oximeter (Adult) Fingertip with patient monitor (wall or benchtop), Specifications: rechargeable, Oxygen level & pulse rate wall digital display, UP to 10 hours working capacity of built-in rechargeable battery, 12.1 color TFT display, Unit: pcs Quantity: 5 Expires Date: N/A Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 5 | Haematocrit Centrifuge for Hgb, HCT Specifications: 20 / 24 capillaries, > 12000 RPM, auto-balancing system, timer, benchtop Unit: pcs Quantity: 2 Expires Date: N/A Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 6 | Microscope Specifications: Magnification: 40X - 1000X Tube: Binocular or Trinocular View Head: 30° inclined, 360° rotating Eyepiece: WF10X / 18mm Nosepiece: 4-position Objective: Plan Achromatic 4X, 10X, 40X, 100X Illumination: LED lamp 3w, With solar reflection mirrors Unit: pcs Quantity: 2 Expires Date: N/A Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 7 | Sterilizing Drum Specifications: 260 mm diameter, stainless steel, Closing lid with a clip lock, Carrying handle, Unit: pcs Quantity: 5 Expires Date: N/A Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 8 | Medical screen Specifications: "• Ward screen • three foldable panels • Removable plastic cloth • independent folding panels. • ø50 mm casters. • Structure made of enameled, chromed or stainless steel • dimensions: 700 - 2100 x 400 x 1800 mm." Unit: pcs Quantity: 10 Expires Date: N/A Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 9 | Baby crib bed, wooden with wheel Specifications: 2 locking levers dimensions: h83 x w124 x d64 cm folded dimensions: h83 x w124 x d16 cm Unit: Pcs Quantity: 3 Expires Date: N/A Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 10 | Tourniquet Specifications: +/- 50cm (buckle and strap), Good elasticity, skin friendly, length 43-45cm not stretched, width 2 to 2.5cm. Unit: pcs Quantity: 1 Expires Date: N/A Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 11 | G mate Glucometer machine Specifications: G-mate glucometer with test strip, Unit: Pcs Quantity: 5 Expires Date: N/A Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 12 | Timer for laboratory Specifications: Timer mechanical with loud alarm, mechanical Unit: pcs Quantity: 2 Expires Date: N/A Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 13 | Scissor, Specifications: medium size 13.5 cm stainless steel Unit: pcs Quantity: 30 Expires Date: N/A Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 14 | vacuum extractor Specifications: nonmetallic (plastic cup) with full set Silicon Cups for Vacuum Extractor With Release Valve. Baby Suction Silicon Cup. Hand-operated suction pump supports the vacuum extraction. Vacuum range, adjustable: from 0 to -85kPa/-638mmHg Gauge dial, minimal graduation: 5kPa/40mmHg Accuracy vacuum gauge: ± 2.5kPa All parts of the vacuum extractor can be disassembled. All parts can be disassembled and are autoclavable at 121°C Requires no other than routine maintenance, manageable at the level of delivery rooms Unit: pcs Quantity: 3 Expires Date: N/A Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 15 | Plastic cup for vacuum extractor Specifications: cup Silicone: transparent tubing, Vacuum silicon Cups are supplied in set of 3 : 40mm , 50mm & 60mm Unit: pcs Quantity: 3 Expires Date: N/A Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |

LOT 3–Laboratory Equipment and reagents

| 1. Item number | 2. Specifications required | 3. Specifications offered TO BE FILLED BY THE SUPPLIER | 4. Notes, remarks, ref. to documentation | 5. Evaluation committee’s notes |
| --- | --- | --- | --- | --- |
| 1 | Hydrogen per oxide Specifications:3% of 1L Unit: Bottle Quantity: 20 Expires Date: 36 months or more Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 2 | Blood Group Specifications: Anti A, Anti B, & Anti D Unit: PK of 3 Quantity: 20 Expires Date: 36 months or more Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 3 | Alcohol Specifications: 70% Unit: 1 liter Quantity: 100 Expires Date: 36 months or more Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED)Date: |  |  |
| 4 | Cover slide glass Specifications: rectangular 22*22 Unit: PK of 100pcs Quantity: 20 Expires Date: 24 months or more Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 5 | Glucometer test strip Specifications: G-mate Unit: PK of 50 test strip Quantity: 50 Expires Date: 24 months or more Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 6 | HeBsAg B test Specifications: kit Unit: PK of 25 cassette form Only Quantity: 60 Expires Date: 36 months or more Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 7 | Micropipette Specifications: Blue Unit: PK of 500 Quantity: 4 Expires Date: 24 months or more Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 8 | Paster pipette Specifications: plastic Unit: PK of 500 Quantity: 5 Expires Date: 24 months or more Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 9 | Urine dipstick Specifications: 10 parameter test Unit: pk of 100 Quantity: 20 Expires Date: 12 months or more Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 10 | Heapatitis C anti body kit Specifications: kit Unit: pk of 50 Quantity: 10 Expires Date: 12 months or more Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 11 | Emmersion oil Specifications: Unit: 100ml Quantity: 3 Expires Date: 12 months or more Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 12 | Gimsa stain Specifications: 500ml Unit: bottle of 500ml Quantity: 20 Expires Date: 12 months or more Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 13 | RDT malaria test kit Specifications: kit Unit: pk of 25 Quantity: 500 Expires Date: 12 months or more Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 14 | Heamosmart gold Specifications: Heamoglobin test strip Unit: pk of 50 Quantity: 50 Expires Date: 12 months or more Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 15 | Genitial violet Specifications: 500ml Unit: 500ml Quantity: 5 Expires Date: 12 months or more Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 16 | Urine cup Specifications: cup 40 ml, reusable Unit: pcs Quantity: 2000 Expires Date: 12 months or more Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 17 | stool cup Specifications: cup 30 ml Unit: pcs Quantity: 2000 Expires Date: 12 months or more Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 18 | Methylene blue Specifications: 30 ml Unit: bottle Quantity: 20 Expires Date: 12 months or more Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |

LOT 4– Medical Consumables for Health centers

| 1. Item number | 2. Specifications required | 3. Specifications offered TO BE FILLED BY THE SUPPLIER | 4. Notes, remarks, ref. to documentation | 5. Evaluation committee’s notes |
| --- | --- | --- | --- | --- |
| 1 | Apron plastic Specification: washable and reusable Unit: Pcs Quantity: 500 Expires Date: 36 months or more Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 2 | Cannula intravenous set Specification: 20 G Unit: PK of 100 Quantity: 10 Expires Date: 24 months or more Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 3 | Delivery cape Specification: Single use, disposable, pores for air circulation. Unit: pcs Quantity: 30 Expires Date: 24 months or more Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 4 | delivery gown Specification: Reusable, cotton, with CUAMM logo Unit: Pcs Quantity: 30 Expires Date: 24 months or more Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 5 | Catgut chromic Specification: -Gauge 2.0 (4/0) 75 cm on 15 mm 1/2 circle round bodied needle Unit: Dozen Quantity: 10 Expires Date: 24 months or more Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 6 | Catheter Foley Siliconized latex sterile two ways- Specification 30-50ml Baloon-16 CH Unit: Each Quantity: 500 Expires Date: 24 months or more Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 7 | Catheter Foley siliconized latex sterile three ways Specification: 30-50 ml Balloon 16 CH Unit: Each Quantity: 100 Expires Date: 24 months or more Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 8 | Glove examination latex non-sterile Specification: - medium size Unit. – pair Quantity: 200 Expires Date: 12 months or more Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 9 | Surgical scalpel blade Specification: No. 24 Unit: each Quantity: 10 Expires Date: 24 months or more Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 10 | Syringe (Disposable) sterile, 3 parts Specification: 10ml luer fitting with needle 21G Unit: box of 100 Quantity: 32 Expires Date: 24 months or more Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 11 | Syringe (Disposable) sterile, 3 parts Specification: 20ml luer fitting with needle 21G Unit: box of 50 Quantity: 2 Expires Date: 24 months or more Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 12 | Syringe (Disposable) sterile, 3 parts Specification: 3ml luer fitting with needle 21G Unit: Box of 100 Quantity: 30 Expires Date: 24 months or more Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 13 | Tongue depressor (spatula)wooden Specification: box of 50 Unit: each Quantity: 10 Expires Date: 24 months or more Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 14 | Ultrasound Jell Specification: 5kg Unit: each Quantity: 3 Expires Date: 36 months or more Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 15 | Urine collecting bag polyvinylchloride, latex-free product Specification: 2000ml with outlet Unit: each Quantity: 100 Expires Date: 48 months or more Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 16 | Absorbent cotton Specification: 100mg Unit: each Quantity: 100 Expires Date: 48 months or more Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |