ANNEX II + III: TECHNICAL SPECIFICATIONS + TECHNICAL OFFER

Contract title: Supply of Medical Drugs  Consumables, and Equipment	p 1 /…

# Publication reference: 23/CUAMM/ETH/2024/ AID 012596/01/1

Columns 1-2 should be completed by the contracting authority Columns 3-4 should be completed by the tenderer

Column 5 is reserved for the evaluation committee

Annex III - the contractor's technical offer

The tenderers are requested to complete the template on the next pages:

- Column 2 is completed by the contracting authority shows the required specifications (not to be modified by the tenderer),

- Column 3 is to be filled in by the tenderer and must detail what is offered (for example the words ‘compliant’ or ‘yes’ are not sufficient)

- Column 4 allows the tenderer to make comments on its proposed supply and to make eventual references to the documentation

The eventual documentation supplied should clearly indicate (highlight, mark) the models offered and the options included, if any, so that the evaluators can see the exact configuration. Offers that do not permit to identify precisely the models and the specifications may be rejected by the evaluation committee.

The offer must be clear enough to allow the evaluators to make an easy comparison between the requested specifications and the offered specifications.

LOT 1–Supply of Medical Drugs

| 1. Item number |  | 2. Specifications required | 3. Specifications offered TO BE FILLED BY THE SUPPLIER | 4. Notes, remarks, ref. to documentation | 5. Evaluation committee’s notes |
| --- | --- | --- | --- | --- | --- |
|  | Ceftriaxone 1g injection Specification: 1g injection with diluent Unit: Vial Quantity: 600 Expires Date: minimum 12 months Delivery time: |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
|  | Amoxicillin +Clavulnic Acid 625 mg tablet Specification: 625 mg tablet Unit: Pk of 15 Quantity: 500 Expires Date: minimum 12 months Delivery time: |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
|  | Ringer lactate 1000 ml + Iv set Specification: 1000 ml + Iv set Unit: Bag of 1000ml Quantity: 300 Expires Date: minimum 12 months Delivery time: |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
|  | Normal Saline 0.9% 1000 ml +Iv set Specification: 1000 ml +Iv set Unit: Bag of 1000ml Quantity: 200 Expires Date: minimum 12 months Delivery time: |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
|  | Dopamine Specification: 40mg/5ml Unit: Ampoule of 5ml Quantity: 50 Expires Date: minimum 12 months Delivery time: |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
|  | Morphine IV Specification: 10mg/ml Unit: Ampoule of 1ml Quantity: 100 Expires Date: minimum 12 months Delivery time: |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
|  | Digoxine IV 0.25mg/ml Specification: Unit: Ampoule of 2ml Quantity: 10 Expires Date: minimum 12 months Delivery time: |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |

LOT 2– Medical Equipment

| 1. Item number | 2. Specifications required | 3. Specifications offered TO BE FILLED BY THE SUPPLIER | 4. Notes, remarks, ref. to documentation | 5. Evaluation committee’s notes |
| --- | --- | --- | --- | --- |
|  | Microscope - Binocular, LED - Clinical Purpose/Description: To magnify and study specimens and small objects by transmitted visible light - Technical Specification - Microscope frame with revolving, 30 degree inclined binocular tube360 degree - rotatable head illuminator LED light source with white light intensity control and - LED light life more than 10,000 Hrs. - Fixed graduated mechanical stage approx. 200 x 150 mm, travelling approx. 80 x - 50 mm - Double slide holder - Coarse focusing: approx. 3 mm per rotation - Fine focusing: approx. 0.3 mm per rotation - Range of magnification: 40 to 1000x - Reverse angle quadruple revolving nose-piece, with distinct click-stop, with rubber - grip for easy handling - Objectives, full plan achromatic: 4x (0.10 NA), 10x (0.25 NA), 40x (0.65 NA), - 100x - (1.25 NA, oil) and 100X oil immersion - Condenser: Abbe with iris diaphragm aperture, 1.25 NA - Eyepieces: Focusable pair, 10x (FN 20), with inter-pupillary distance- and dioptre - adjustment - Retractable eye guards - Filter: blue - All optics anti-fungus treated - Brightness control: 0 to 100 % (linear) - Detachable plano-concave mirror unit with adjustable convex and concave mirror - on alternate side Quantity:01 Unit: pcs Delivery: Addis Ababa | Specification offered: Unit: Delivery time: (TO BE FILLED) |  |  |
|  | BP Cuff (Anaroid) Specification: Spengler Quantity: 16 Unit: pcs Delivery: Addis Ababa | Specification offered: Unit: Delivery time: (TO BE FILLED) |  |  |
|  | BEAKERS Specification: - Pyrex type - Capacity 1000-3000ml - Made of glass with uniform wall thickness - Double metric scale - Autoclavable Unit: Pcs Quantity: 06 Delivery time: | Specification offered: Unit: Delivery time: (TO BE FILLED) |  |  |
| - 2. | FLASKS Specification: - Earlimer and volumetric type - Pyrex type - Capacity 1000-3000ml - Made of glass - Autoclavable - Wide base Unit: Pcs Quantity: - Earlimer type=04 - Volumetric type=04 Delivery time: | Specification offered: Unit: Delivery time: (TO BE FILLED) |  |  |
|  | PETRIDISH Specification: - Flat - Shallow dish made of glass with a suitable lid - Size 60 mm diameters - Pyrex type Unit: Pcs Quantity: 50 Delivery time: | Specification offered: Unit: Delivery time: (TO BE FILLED) |  |  |
|  | BUNSEN BURNER Specification: - Material aluminium made brass stool - Diameter 3.4 inch with 85 cm base Unit: Pcs Quantity: 2 Delivery time: | Specification offered: Unit: Delivery time: (TO BE FILLED) |  |  |
|  | CULTURE VIALS Specification: - Screw cup and round bottom made of glass only - Pyrex type - Size (mm) - 18X180……..30ML - 16X100………10ML - 16X25…………15ML - 12X100……….6ML Unit: Pcs Quantity: - 18X180……..30ML = 10 - 16X100………10ML = 10 - 16X25…………15ML = 10 - 12X100……….6ML = 10 Delivery time: | Specification offered: Unit: Delivery time: (TO BE FILLED) |  |  |
|  | COLONY COUNTER Specification: - Digital - Character height=13mm - External size - Width 270 - Depth 200 - Heith 70 - Compatable petridish 50 to 150 mm - Ambinet temrature - Protective glass ip21 - Total power consumption 20 microlitre - Power ac 100 to 24o v/50 to 60 hz Unit: Pcs Quantity: 01 Delivery time: | Specification offered: Unit: Delivery time: (TO BE FILLED) |  |  |
|  | WIRELOOP (Innoculation loop) Specification: - Volume1-10microlitre - 75 ml length - 2-5 ml diameter - Made of stainless steel Unit: Pcs Quantity: 10 Delivery time: | Specification offered: Unit: Delivery time: (TO BE FILLED) |  |  |

LOT 3 – Medical consumables

| 1. Item number |  | 2. Specifications required | 3. Specifications offered TO BE FILLED BY THE SUPPLIER | 4. Notes, remarks, ref. to documentation | 5. Evaluation committee’s notes |
| --- | --- | --- | --- | --- | --- |
|  | Applicator stick Specification: cotton tipped Unit: pack of 100 Quantity: 185 Expires Date: minimum 12 months Delivery time: |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
|  | Surgical glove, latex 7.5 Specification: latex 7.5 sterile Unit: Box of 50 pairs Quantity: 350 Expires Date: minimum 12 months Delivery time: |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
|  | N95 face mask Specification: N95 Unit: pcs Quantity: 320 Expires Date: minimum 12 months Delivery time: |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |