ANNEX II + III: TECHNICAL SPECIFICATIONS + TECHNICAL OFFER

Contract title: Supply of Medical Drugs, Medical Consumables and Equipment Materials	p 1 /…

Publication reference: 42/CUAMM/ETH/2024/ AID 12626

Columns 1-2 should be completed by the contracting authority Columns 3-4 should be completed by the tenderer

Column 5 is reserved for the evaluation committee

Annex III - the contractor's technical offer

The tenderers are requested to complete the template on the next pages:

- Column 2 is completed by the contracting authority shows the required specifications (not to be modified by the tenderer),

- Column 3 is to be filled in by the tenderer and must detail what is offered (for example the words ‘compliant’ or ‘yes’ are not sufficient)

- Column 4 allows the tenderer to make comments on its proposed supply and to make eventual references to the documentation

The eventual documentation supplied should clearly indicate (highlight, mark) the models offered and the options included, if any, so that the evaluators can see the exact configuration. Offers that do not permit to identify precisely the models and the specifications may be rejected by the evaluation committee.

The offer must be clear enough to allow the evaluators to make an easy comparison between the requested specifications and the offered specifications.

LOT 1–Medical Equipment

| 1. Item number |  | 2. Specifications required | 3. Specifications offered TO BE FILLED BY THE SUPPLIER | 4. Notes, remarks, ref. to documentation | 5. Evaluation committee’s notes |  |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Infrared Thermometer Specifications: Digital Unit: Each Quantity: 1 Expires Date: N/A Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 2 | Neonate weight scale Specifications: Baby weighting scale for manual weight up to 10kg Unit: Each Quantity: 1 Expires Date: N/A Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 3 | Infant weight scale Specifications: Infant weighting scale for manual weight 25kg Unit: Each Quantity: 1 Expires Date: N/A Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 4 | Adult weight scale Specifications: Adult weighting scale for manual weight 250kg Unit: Each Quantity: 1 Expires Date: N/A Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 5 | Delivery set Specifications: Kidney dish Stainless steel=1 Straight Artery forceps-Crile =2 Gallipot Stainless steel =1 Dissecting forceps=2 Bowl = 1 Sponge holding forceps Rampley =1 Needle holder =1 Mayo Scissors=6 Cusco Speculum=1 Perforated sterilizing Box According to the size =1 Unit: Each Quantity: 1 Expires Date: N/A Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |

LOT 2–Medical Drugs

| 1. Item number |  | 2. Specifications required | 3. Specifications offered TO BE FILLED BY THE SUPPLIER | 4. Notes, remarks, ref. to documentation | 5. Evaluation committee’s notes |
| --- | --- | --- | --- | --- | --- |
|  | Amoxicillin + Clavulanic Acid Specifications: 500mg + 125mg, Film Coated, Tablet Unit: 10x10 Quantity: 1 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
|  | Amoxicillin + Clavulanic Acid Specifications: 125mg +31.25mg)/5ml - Oral Suspension, Unit: 100ml Quantity: 1 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
|  | Gentamicin Specifications: 80mg/ml in 2 ampoule injection Unit:10x10 Quantity: 1 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
|  | Vitamin K1 Specifications: (Phytomenadione) - 10mg/ml in 1ml ampoule - Injection Unit:10x10 Quantity: 1 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
|  | Paracetamol Specifications: 120mg/5ml – Syrup Unit:60ml Quantity: 1 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
|  | Diclofenac Specifications: Sodium - 75mg/ml in 2ml ampoule - Injection Unit:10x10 Quantity: 1 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
|  | Cloxacillin Specifications:250mg/5ml oral suspension Unit: bottle/100ml Quantity: 1 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
|  | Amoxicillin Specifications: 250mg/5ml oral Syrup Unit: 100ml Quantity: 1 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
|  | Cotrimoxazole syrup (Sulphamethaxazole+trimethoprim-(200mg+40mg)/5ml- suspension Specifications: 240mg/5ml oral suspension Unit: 100ml Quantity: 1 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
|  | Hydralazine Specifications: 20 mg injection Unit:5x2 Quantity: 1 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
|  | Miconazole oral cream Specifications: cream, 20gm Unit: tube Quantity: 1 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
|  | Ciproflaxacin Specifications: 500mg tablet Unit:10x10 Quantity: 1 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
|  | Ampicillin Injection Specifications: 500mg injection Unit:50vials Quantity: 1 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
|  | Tramadol injection Specifications: 50mg mg/ml injection Unit:10x10 Quantity: 1 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
|  | Ceftriaxone Specifications: 1gm with 10 ml diluent inj Unit: Quantity: 1 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
|  | Paracetamol tablet Specifications: paracetamol 500mg tablet Unit:500x10 Quantity: 1 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
|  | Metoclopramide injection Specifications: Metoclopramide 10mg injection Unit:10x10 Quantity: 1 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
|  | Metronidazole IV infusion Specifications: 100 ml IV infusion Unit:100ml Quantity: 1 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
|  | Metronidazole syrup Specifications: 250mg/5 ml oral suspension Unit: bottle Quantity: 1 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
|  | Furasemid Specifications: 10mg/2ml injection Unit:10x10 Quantity: 1 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
|  | Magnesium Sulphate 50% in 20ml Specifications: Injection Unit:10x10 Quantity: 1 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
|  | Hydrocotrisone 100mg Specifications: 100mg injection Unit:vials Quantity: 1 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
|  | Gent violet Specifications: solution of 1% Unit:30ml Quantity: 1 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
|  | Aderanaline Specifications: 0.1% in Ampoule injection Unit:10x10 Quantity: 1 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
|  | Diazepam injection-10mg Specifications: injection Unit:10x10 Quantity:1 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
|  | Calcium gluconate Specifications: injection Unit: ampoule Quantity: 1 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |

LOT 3–Medical Consumables

| 1. Item number | 2. Specifications required | 3. Specifications offered TO BE FILLED BY THE SUPPLIER | 4. Notes, remarks, ref. to documentation | 5. Evaluation committee’s notes |
| --- | --- | --- | --- | --- |
|  | IV cannula Specification: 24G Unit: of 100 Quantity: 1 Expires Date: 24 months or more Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 2 | IV cannula Specification: 22G Unit: of 100 Quantity: 1 Expires Date: 24 months or more Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 3 | Adhesive Specification: plaster Unit: roll Quantity: 1 Expires Date: 24 months or more Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 4 | Syringe Specification: 5ml Unit: of 100 Quantity: 1 Expires Date: 24 months or more Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 5 | Syringe Specification: disposable 10ml, with needle 21G Unit: 10ml Quantity: 1 Expires Date: 24 months or more Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 6 | Syringe Specification: disposable 20ml, with needle 21G Unit: 20ml Quantity: 1 Expires Date: 24 months or more Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 7 | Gauze Surgical Specification: 90cmx100m mesh size 19x15 Unit: roll Quantity: 1 Expires Date: 24 months or more Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 8 | Povidine Iodine Specification: Iodine solution -1liter Unit: liter Quantity: 1 Expires Date: 24 months or more Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 9 | Alcohool Specification: 70% Alcohol solution of I liter Unit: liter Quantity: 1 Expires Date: 24 months or more Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 10 | Hand gel Specification: hand gel/sanitizer 250ml Unit: 250ml Quantity:1 Expires Date: 24 months or more Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 11 | Face mask Specification: surgical face mask Unit: 25 pcs Quantity: 1 Expires Date: 24 months or more Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 12 | Surgical blade Specification: surgical blade number 22 Unit: Dozen Quantity: 1 Expires Date: 24 months or more Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 13 | Surgical blade Specification: surgical blade number 23 Unit: Dozen Quantity: 1 Expires Date: 24 months or more Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 14 | Surgical blade Specification: surgical blade number 24 Unit: Dozen Quantity: 1 Expires Date: 24 months or more Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 15 | Surgical Glove Specification:Surgical glove 7.5 Unit: 50 pairs Quantity: 1 Expires Date: 24 months or more Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 16 | Ringer lactate Specification: Each contains Na+ 147mEq+k+4mEq cl-55mEq- intravenous infusion with giving set Unit: 1000ml Quantity: 1 Expires Date: 24 months or more Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 17 | Sodium Chloride Specification: Normal saline-0.009 intravenous infusion giving set Unit: 1000ml Quantity:1 Expires Date: 24 months or more Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 17 | Glove Specification: Examination glove medium latex powder Unit: 50 pairs Quantity: 1 Expires Date: 24 months or more Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 19 | Cut gut Specification: cut gut 3/0 round Unit: Dozen Quantity: 1 Expires Date: 24 months or more Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 20 | Giemsa stain Specification: Giemsa stain solution 0.25%-1liter Unit: liter Quantity: 1 Expires Date: 24 months or more Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |