ANNEX II + III: TECHNICAL SPECIFICATIONS + TECHNICAL OFFER

Contract title: Supply of Medical  Equipment and Consumable

p 1 /…

Publication reference: 43/CUAMM/ETH/2024

Columns 1-2 should be completed by the contracting authority Columns 3-4 should be completed by the tenderer

Column 5 is reserved for the evaluation committee

Annex III - the contractor's technical offer

The tenderers are requested to complete the template on the next pages:

- Column 2 is completed by the contracting authority shows the required specifications (not to be modified by the tenderer),

- Column 3 is to be filled in by the tenderer and must detail what is offered (for example the words ‘compliant’ or ‘yes’ are not sufficient)

- Column 4 allows the tenderer to make comments on its proposed supply and to make eventual references to the documentation

The eventual documentation supplied should clearly indicate (highlight, mark) the models offered and the options included, if any, so that the evaluators can see the exact configuration. Offers that do not permit to identify precisely the models and the specifications may be rejected by the evaluation committee.

The offer must be clear enough to allow the evaluators to make an easy comparison between the requested specifications and the offered specifications.

Lot 1 Medical Equipment

| 1. Item number |  | 2. Specifications required | 3. Specifications offered TO BE FILLED BY THE SUPPLIER | 4. Notes, remarks, ref. to documentation | 5. Evaluation committee’s notes |
| --- | --- | --- | --- | --- | --- |
|  | Glucometer with test strips Specification: Zero setting between measurements Sample size of 5-10 uL (capillary, venous or arterial whole blood) Reading time: 10sec-5min supplied with lancets and test strips specified below Quantity: 1 Delivery place: Addis Ababa |  | Delivery time: (TO BE FILLED) |  |  |
|  | Measuring tape (tape measure/medical) Specification: Length 2,000 mm (1 mm spacing) /60 inches Push button retraction, features both inches and centimetres Quantity: 1 Delivery place: Addis Ababa |  | Delivery time: (TO BE FILLED) |  |  |
|  | Monofilament_Medical Specification: 5.07 gm nylon monofilament ( to test sensation over foot) Quantity: 1 Delivery place: Addis Ababa |  | Delivery time: (TO BE FILLED) |  |  |
| 4. | Adult BP Apparatus Specification:Digital Complete with adult cuff, bulb and value in vinyl case ( typical dimensions (0.15x0.15x0.04 cm) Weight 0.30 kg Quantity: 1 Delivery place: Addis Ababa |  | Delivery time: (TO BE FILLED) |  |  |
| 5. | Stethoscope Specification: Stethoscope has stainless steel/ chromed brass Double-bell chest piece (dual-use adult and paediatric auscultation). Adult diaphragm: approx 43 mm. Pediatric diaphragm: approx 28 mm. Sensitivity, 50 to 500 Hz: 3.2 dB (cardiology). Sensitivity, 600 to 1500 Hz: 8.1 dB (pneumology). Single tube in treated rubber, lumen diameter: approx 10 mm. Y-part is reinforced with stainless steel spring attached to the rigid ear tubes. Spring is treated to give long lasting rebound and comfort. Ear tubes are made of stainless steel or chromed brass. Ear-pieces are made of plastic and are removable. Total length, approx 70 cm. Quantity: 1 Delivery place: Addis Ababa |  | Delivery time: (TO BE FILLED) |  |  |

Lot 2: Medical Consumables

| 1. Item number | 2. Specifications required | 3. Specifications offered | 4. Notes, remarks, ref to documentation | 5. Evaluation committee’s notes |
| --- | --- | --- | --- | --- |
|  | Test strips: Specification: One packet of 50 strips Brand has to match glucometer Quantity: 1 Delivery place: Addis Ababa | Delivery time: (TO BE FILLED) |  |  |
|  | Blood lancet: Safe, disposable/single use, sterile 50 pcs in one Length approx. 40 mm Width approx: 6mm Quantity: 1 Delivery place: Addis Ababa | Delivery time: (TO BE FILLED) |  |  |