ANNEX II + III: TECHNICAL SPECIFICATIONS + TECHNICAL OFFER

Contract title: Supply of Medical Drugs, Laboratory Equipment and reagents, Consumables and Medical Equipment	p 1 /…

Publication reference: 55/CUAMM/ETH/2024/AID12669

Columns 1-2 should be completed by the contracting authority Columns 3-4 should be completed by the tenderer

Column 5 is reserved for the evaluation committee

Annex III - the contractor's technical offer

The tenderers are requested to complete the template on the next pages:

- Column 2 is completed by the contracting authority shows the required specifications (not to be modified by the tenderer),

- Column 3 is to be filled in by the tenderer and must detail what is offered (for example the words ‘compliant’ or ‘yes’ are not sufficient)

- Column 4 allows the tenderer to make comments on its proposed supply and to make eventual references to the documentation

The eventual documentation supplied should clearly indicate (highlight, mark) the models offered and the options included, if any, so that the evaluators can see the exact configuration. Offers that do not permit to identify precisely the models and the specifications may be rejected by the evaluation committee.

The offer must be clear enough to allow the evaluators to make an easy comparison between the requested specifications and the offered specifications.

LOT 1–Essential Drugs/medications for Health Posts and CUAMM

| 1. Item number |  | 2. Specifications required | 3. Specifications offered TO BE FILLED BY THE SUPPLIER | 4. Notes, remarks, ref. to documentation |  | 5. Evaluation committee’s notes |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Amoxicillin Tablet Specification: 200 mg + 28.5 mg; 250 mg + 62.5 mg Unit: 10x10 Quantity: 1 Expiry: 24 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 2 | Ciprofloxacin Solution (ear drops) Specification: 0.3% Unit: 10ml Quantity: 1 Expiry: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |
| 3 | Gentamicin Solution (eye drops) Specification: 0.3% Unit: Tube Quantity: 1 Expiry: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |  |
| 4 | Griseofulvin Oral Liquid Specification: 125 mg/5 mL Unit: 100ml Quantity: 1 Expiry: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |  |  |
| 5 | Metoclopramide Injection Specification: 5 mg/mL Unit: Vial Quantity: 1 Expiry: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |  |  |
| 6 | Metoclopramide Tablet Specification: 10 mg Unit: 10x10 Quantity: 1 Expiry: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |  |  |
| 7 | Metronidazole Oral Liquid Specification: 125 mg/5 mL Unit: 100ml Quantity: 1 Expiry: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |  |  |
| 8 | Paracetamol (Acetaminophen) Oral Liquid Specification: 120 mg/5 mL Unit: 80ml Quantity: 1 Expiry: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |  |  |
| 9 | Paracetamol (Acetaminophen) Tablet Specification: 500 mg Unit: 100x10 Quantity: 1 Expiry: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |  |  |
| 10 | Iron Folic Acid Specification: 5mg Unit: Pack Quantity: 1 Expiry: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |  |  |
| 11 | Metoclopramide Syrup Specification: 5mg/5ml Unit: 2x10 Quantity: 1 Expiry: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |  |  |
| 12 | Nystatin Ointment Specification: Not specified Unit: Not specified Quantity: 1 Expiry: 12 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |  |  |
| 13 | Amoxicillin Capsule Specification: 500mg Unit: 50x10 Quantity: 1 Expiry: 24 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |  |  |
| 14 | Amoxicillin Capsule Specification: 250mg Unit: 100x10 Quantity: 1 Expiry: 24 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |  |  |
| 15 | Amoxicillin Suspension Specification: 250mg/5ml Unit: 100ml Quantity: 1 Expiry: 24 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |  |  |
| 16 | Amoxicillin Suspension Specification: 125mg/5ml Unit: 100ml Quantity: 1 Expiry: 24 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |  |  |
| 17 | Benzyl Benzoate Lotion Specification: 25% w/v Unit: Bottle Quantity: 1 Expiry: 24 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |  |  |
| 18 | Benzathine Penicillin Injection Specification: 1.4 MIU Unit: Vial Quantity: 1 Expiry: 24 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |  |  |
| 19 | Ferrous Sulfate + Folic Acid Tablet Specification: 150mg + 0.5mg (Enteric Coated) Unit: 10x10 Quantity: 1 Expiry: 24 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |  |  |
| 20 | Mebendazole Tablet Specification: 100mg Unit: Pack Quantity: 1 Expiry: 24 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |  |  |
| 21 | Mebendazole Syrup Specification: 100mg/5ml Unit: 30ml Quantity: 1 Expiry: 24 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |  |  |
| 22 | Metronidazole Capsule Specification: 250mg Unit: 100x10 Quantity: 1 Expiry: 24 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |  |  |
| 23 | Water for Injection Specification: 5ml Unit: 100x1 Quantity: 1 Expiry: 24 months or longer Delivery: CUAMM Addis Ababa |  | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |  |  |  |

LOT 2–Laboratory Equipment and reagents Health Posts and CUAMM

| 1. Item number | 2. Specifications required | 3. Specifications offered TO BE FILLED BY THE SUPPLIER | 4. Notes, remarks, ref. to documentation | 5. Evaluation committee’s notes |
| --- | --- | --- | --- | --- |
| 1 | Serology - Hepatitis BsAg Test Cassette Specification: For rapid detection Unit: 30 tests Quantity: 1 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 2 | Serology - Hepatitis C Antibody Test Cassette Specification: For rapid detection Unit: 40 tests Quantity: 1 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 3 | Serology - Rapid Plasma Reagin (RPR) Test Specification: For syphilis screening Unit: 50 tests Quantity: 1 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED)Date: |  |  |
| 4 | HCG Test Kit Specification: Rapid pregnancy test Unit: 50 tests Quantity: 1 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 5 | Diluent Specification: mindray S.No. UH-38010639 Unit: 20 L Quantity: 1 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 6 | CFL Lyse Specification: mindray Unit: 1L×4/4L×1 Quantity: 1 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 7 | Probe cleaner Specification: mindray Unit: 1L×4/4L×1 Quantity: 1 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 8 | B30 Hematology control Specification: mindray, with three-part WBC differential, Unit: tube Quantity: 1 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 9 | S30 Calibrator Specification: mindry, for WBC, RBC, PLT, HGB and MCV, Unit: tube Quantity: 1 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 10 | Lyse - HX3 Specification: Hemax 330 Unit: 1L×4/4L×1 Quantity: 1 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 11 | EZ-Cleaner. Specification: : Hemax 330 Unit: 1L×4/4L×1 Quantity: 1 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |
| 12 | Test tube Specification: 12D, 12x75ml Unit: Each Quantity: 1 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 13 | Test tube Specification: 11x40ml (1.5ml centrifugal tube) Unit: Each Quantity: 1 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 14 | Test tube Specification: 10.7x42ml small closed anticoagulated tube Unit: Each Quantity: 1 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |

| LOT 3–Medical Equipment for the Health Post and CUAMM |  |  |  |  |
| --- | --- | --- | --- | --- |
| 1. Item number | 2. Specifications required | 3. Specifications offered TO BE FILLED BY THE SUPPLIER | 4. Notes, remarks, ref. to documentation | 5. Evaluation committee’s notes |
| 1 | Face Shield Specifications: Full face shield with brow guard, adjustable head and crown band. Unit: Each. Quantity: 1. Expiry Date: N/A. Delivery: CUAMM Addis Ababa. | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 2 | Gown Specifications: Cotton Polyester White. Unit: Each. Quantity: 1. Expiry Date: N/A. Delivery: CUAMM Addis Ababa. | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 3 | Disposable Face Masks Specifications: Three-layered, 95*177mm-Flat type. Unit: Each. Quantity: 1. Expiry Date: N/A. Delivery: CUAMM Addis Ababa. | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 4 | Color-Coded Medical Waste Containers Specifications: Durable, high-quality, medical-grade plastic. Unit: Each. Quantity: 1. Expiry Date: N/A. Delivery: CUAMM Addis Ababa. | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 5 | Adult MUAC Tape Specifications: 0-56 cm range, 1 mm graduations, clear color-coded zones, and durable. Unit: Each. Quantity: 1. Expiry Date: N/A. Delivery: CUAMM Addis Ababa. | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 6 | Patient Examination Bed Specifications: Size 1920 x 650 x 530-780; Backrest adjustable by crank; mild steel epoxy-coated finish. Unit: Each. Quantity: 1. Expiry Date: N/A. Delivery: CUAMM Addis Ababa. | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 7 | Sphygmomanometer Aneroid Specifications: Pressure range 0-300mmHg. Unit: Each. Quantity: 1. Expiry Date: N/A. Delivery: CUAMM Addis Ababa. | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 8 | Stethoscope Adult Specifications: Diaphragm 45.5mm, PVC crack-resistant tube, outer diameter 10mm, inner diameter 4.8mm. Unit: Each. Quantity: 1. Expiry Date: N/A. Delivery: CUAMM Addis Ababa. | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 9 | Thermometer Room Specifications: Digital. Unit: Each. Quantity: 1. Expiry Date: N/A. Delivery: CUAMM Addis Ababa. | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |
| 10 | Digital Adult Weight Scale Specifications: Capacity 200 kg or more, accuracy ± 0.1 kg, clear digital display, durable, hygienic, reliable power source. Unit: Each. Quantity: 1. Expiry Date: N/A. Delivery: CUAMM Addis Ababa. | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |
| 11 | Weight Scale Pediatric Specifications: 5-digit display, easily cleanable fiber pan, graded height scale in the pan. Unit: Each. Quantity: 1. Expiry Date: N/A. Delivery: CUAMM Addis Ababa. | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |
| 12 | Wound Care Set Specifications: Stainless steel scissors, forceps, dressing tray, scalpel handles, blades, retractors, hemostatic clamps, wound closure strips, adhesive dressings, gauze pads, antiseptic solutions. Unit: Each. Quantity: 1. Expiry Date: N/A. Delivery: CUAMM Addis Ababa. | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |
| 13 | BMI Calculator Specifications: Digital display, portable. Unit: Pcs. Quantity: 1. Expiry Date: N/A. Delivery: CUAMM Addis Ababa. | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |
| 14 | Digital Adult Weight Scale with Meter Specifications: Digital display with height meter. Unit: Each. Quantity: 1. Expiry Date: N/A. Delivery: CUAMM Addis Ababa. | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |
| 15 | Height/Length Measuring Board Specifications: Product size 130 x 25 cm. Unit: Pcs. Quantity: 1. Expiry Date: N/A. Delivery: CUAMM Addis Ababa. | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |
| 16 | Otoscope Specifications: Handheld, with LED illumination. Unit: Each. Quantity: 1. Expiry Date: N/A. Delivery: CUAMM Addis Ababa. | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |
| 17 | Weight Scale for Children Specifications: Capacity 25 kg, digital. Unit: Each. Quantity: 1. Expiry Date: N/A. Delivery: CUAMM Addis Ababa. | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |
| 18 | IV drip Stand Specifications: 42.9in to 80.7in Height Adjustable with 2 Hooks and Wheels, Stainless Steel Unit: Each Quantity: 1 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 19 | Minor Surgical Set Specifications: stainless steel, Autoclavable in a high steam and high temperature Sterilizers, withstand corrosion and rust, Resist moisture Unit: Each Quantity: 1 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 20 | Pulse oximeter (Adult) Fingertip with patient monitor (wall or benchtop), Specifications: rechargeable, Oxygen level & pulse rate wall digital display, UP to 10 hours working capacity of built-in rechargeable battery, 12.1 color TFT display, Unit: Each Quantity: 1 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 21 | Sphygmomanometer Aneroid Specifications: with Universal Cuff 8.7 - 16.5, Unit: Each Quantity: 1 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 22 | Sphygmomanometer Digital Specifications: Cuff 17.7 inch, Backlit Display, and AC Adapters Unit: Each Quantity: 1 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 23 | Stethoscope Adult Specifications: diaphragm 45.5mm Tube made PVC and crack resistant. Tube diameter: outer 10mm, inner diameter 4.8mm Unit: Each Quantity: 1 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 24 | Stethoscope Neonatal Specifications: Double cup chest piece, Diaphragm (Ø: 23 mm), Bell (Ø: 18 mm) PVC tube (60mm max length), stainless steel arms, removable earpieces, Unit: Each Quantity: 1 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 25 | Stethoscope Pediatric Specifications: Double cup chest piece, Diaphragm (Ø: 31.5mm), PVC tube (560mm max length), stainless steel arms, removable earpieces Unit: Each Quantity: 1 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 26 | Stretchers Specifications: (208-230) x (50-55) x (10-15) cm Unit: Each Quantity: 1 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 27 | UPS 1800W Specifications: Unit: Each Quantity: 1 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |
| 28 | Wheelchair Specifications: overall length of 1080 mm, seat width 500 mm, seat depth at least 425 mm, and backrest height at least 430 mm Unit: Each Quantity: 1 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |
| 29 | Chemistry Machine Specifications: Semi-automatic clinical chemistry analyzer with 20 reagent positions, up to 60 tests/hour, pre-programmed routines, multi-mode analysis, self-test capability, optical and thermal precision, data management software, and uninterrupted power supply. Unit: Each Quantity: 1 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |
| 30 | CPAP Machine Specifications: Unit: Each Quantity: 1 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |
| 31 | Delivery Set Specifications: set Unit: Each Quantity: 1 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |
| 31 | Glucometer Specifications: Compact, battery-operated point-of-care glucose analyzer for capillary, arterial, and venous blood, providing results within 5 minutes, with a measuring range of 0.55–30.8 mmol/L (10–555 mg/dL) Unit: Each Quantity: 1 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |
| 32 | Color-Coded Medical Waste Containers (Red, Yellow, Black), Specifications: Durable, high-quality, medical-grade plastic Unit: Each Quantity: 1 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |
| 33 | Oxygen Concentrator Specifications: adjustable flow rates up to 5 L/min (>82% oxygen), built-in oxygen monitor, alarms, digital hour meter, low noise (<50 dB), durable casing, wheels for mobility, cleanable filters, and power-efficient operation. Size: open1795 x 2350mm and washable steel frame Unit: Each Quantity: 1 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |
| 34 | Patient Bed Specifications: Unit: Each Quantity: 1 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |
| 35 | Patient Examination bed Specifications: size 1920 x650 x530-780. Back rest Adjustable by crank Framework made of mild steel epoxy coated finish Unit: Each Quantity: 1 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |
| 36 | Disposable Face Masks Specifications: Three-layered, 95*177mm-Flat type Unit: Each Quantity: 1 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |
| 37 | Delivery Coach Specifications: 180 x 80 x 80 cm (l x w x h) with 3 adjustable sections, corrosion-resistant steel frame, padded upholstery, Trendelenburg positioning, height-adjustable knee crutches, slide-out stainless steel basin-tray, and 150 kg capacity Unit: Each Quantity: 1 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |
| 38 | Trolley Specifications: Stainless steel trolley with two non-removable shelves, swivel castors (two with brakes), push-bar handle, guard rails, protective bumpers, and 100 kg capacity Unit: Each Quantity: 1 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |
| 39 | Fridge tag Specifications: Digital thermometer, mercury-free, with a range of 32–43°C, ±0.1°C accuracy, quick measurement within 120 seconds Unit: Each Quantity: 1 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |
| 40 | Centrifuge. Specifications: High speed Bench top Centrifuge – Rotoh 1815. Unit: Each Quantity: 1 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |
| 41 | Microscope Specifications: Olopmpus. Quantity: 2 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |

LOT 4– Medical Consumables for Health Posts and CUAMM

| 1. Item number | 2. Specifications required | 3. Specifications offered TO BE FILLED BY THE SUPPLIER | 4. Notes, remarks, ref. to documentation | 5. Evaluation committee’s notes |
| --- | --- | --- | --- | --- |
| 42 | Bleach Specifications: 5% Sodium hypochlorite. Unit: Bottle of 1000ml. Quantity: 1. Expiry Date: 24 months or more. Delivery: CUAMM Addis Ababa. | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 43 | Liquid Soap Specifications: N/A. Unit: Bottle of 1000ml. Quantity: 1. Expiry Date: 24 months or more. Delivery: CUAMM Addis Ababa. | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 44 | Cotton Wool Specifications: 500 g, roll, non-sterile. Unit: Roll. Quantity: 1. Expiry Date: 24 months or more. Delivery: CUAMM Addis Ababa. | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 45 | Surgical Gauze Roll Specifications: 90cm x 100m, White, Non-Sterile, Pure Cotton. Unit: Roll. Quantity: 1. Expiry Date: N/A. Delivery: CUAMM Addis Ababa. | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 46 | Gentian Violet Solution Specifications: 1% USP solution, 1 liter. Unit: Bottle. Quantity: 1. Expiry Date: 24 months or more. Delivery: CUAMM Addis Ababa. | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 47 | Gynecological Examination Gloves - Serial Latex Specifications: No. 7.0. Unit: Pair of 50. Quantity: 1. Expiry Date: 24 months or more. Delivery: CUAMM Addis Ababa. | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 48 | Heavy Duty Latex Gloves (Medium) Specifications: High resistance to liquid chemicals, long cuff, tear-resistant, comfortable lining. Unit: Box. Quantity: 1. Expiry Date: 36 months or more. Delivery: CUAMM Addis Ababa. | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |
| 49 | Povidone Iodine Specifications: 10% Solution. Unit: Bottle. Quantity: 1. Expiry Date: 48 months or more. Delivery: CUAMM Addis Ababa. | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |
| 50 | Adhesive Plaster Zinc Oxide Specifications: 7.5cm x 10m. Unit: Roll. Quantity: 1. Expiry Date: N/A. Delivery: CUAMM Addis Ababa. | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |
| 51 | Alcohol Solution Specifications: 70%. Unit: Bottle. Quantity: 1. Expiry Date: N/A. Delivery: CUAMM Addis Ababa. | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |
| 52 | Chlorhexidine Gel Specifications: Antiseptic, 15g. Unit: Tube. Quantity: 1. Expiry Date: N/A. Delivery: CUAMM Addis Ababa. | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |
| 53 | Clean Glove Examination Latex Specifications: Non-powdered, medium size. Unit: 100 pairs. Quantity: 1. Expiry Date: N/A. Delivery: CUAMM Addis Ababa. | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |
| 54 | Cotton Roll Specifications: Medical-grade, absorbent. Unit: Roll. Quantity: 1. Expiry Date: N/A. Delivery: CUAMM Addis Ababa. | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |
| 55 | Gauze Bandage Specifications: 7.5cm x 5m. Unit: Roll. Quantity: 1. Expiry Date: N/A. Delivery: CUAMM Addis Ababa. | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |
| 56 | Syringe (Disposable) Specifications: 3ml with Needle 21G. Unit: 100x1. Quantity: 1. Expiry Date: N/A. Delivery: CUAMM Addis Ababa. | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |
| 57 | Syringe (Disposable) Specifications: 5ml with Needle 21G. Unit: 100x1. Quantity: 1. Expiry Date: N/A. Delivery: CUAMM Addis Ababa. | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |
| 58 | Safety Box Specifications: For sharps disposal, 5L capacity. Unit: Each. Quantity: 1. Expiry Date: N/A. Delivery: CUAMM Addis Ababa. | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |
| 59 | Ultrasound Gel Specifications: 250ml. Unit: Bottle. Quantity: 1. Expiry Date: N/A. Delivery: CUAMM Addis Ababa. | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |

LOT 5–Laboratory Equipment and reagents – Blood Bank

| 1. Item number | 2. Specifications required | 3. Specifications offered TO BE FILLED BY THE SUPPLIER | 4. Notes, remarks, ref. to documentation | 5. Evaluation committee’s notes |
| --- | --- | --- | --- | --- |
| 1 | Automated Blood Group Analyzer Specification: Fully automated, high throughput Unit: Each Quantity: 1 Expires Date: 24 months or longer Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 2 | Anti-A Serum Specification: Monoclonal antibody Unit: Each Quantity: 1 Expires Date: 24 months or longer Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 3 | Anti-B Serum Specification: Monoclonal antibody Unit: Each Quantity: 1 Expires Date: 24 months or longer Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED)Date: |  |  |
| 4 | Anti-D Serum Specification: RhD typing reagent Unit: Each Quantity: 1 Expires Date: 24 months or longer Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 5 | Coombs Serum Specification: Direct antiglobulin test reagent Unit: Each Quantity: 1 Expires Date: 24 months or longer Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 6 | Hepatitis B Surface Antigen Reagent Specification: For HBV testing Unit: Each Quantity: 1 Expires Date: 24 months or longer Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 7 | Hepatitis C Antibody Reagent Specification: For HCV testing Unit: Each Quantity: 1 Expires Date: 24 months or longer Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 8 | HIV Antibody Reagent Specification: For HIV screening Unit: Each Quantity: 1 Expires Date: 24 months or longer Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 9 | Sickle Cell Reagents Specification: Solubility test reagent Unit: Each Quantity: 1 Expires Date: 24 months or longer Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 10 | Sedimentation Rate Testing Reagents Specification: Compatible with ESR analysis Unit: Each Quantity: 1 Expires Date: 24 months or longer Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 11 | Staining Reagents Specification: Compatible with hematology stains Unit: Each Quantity: 1 Expires Date: 24 months or longer Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 12 | Syphilis Reagent Specification: RPR/VDRL-compatible Unit: Each Quantity: 1 Expires Date: 24 months or longer Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 13 | Pipettes Specification: Graduated, 10 mL capacity Unit: Each Quantity: 100 Expires Date: 24 months or longer Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED)Date: |  |  |

| LOT 6–Medical Equipment for the Blood Bank |  |  |  |  |
| --- | --- | --- | --- | --- |
| 1. Item number | 2. Specifications required | 3. Specifications offered TO BE FILLED BY THE SUPPLIER | 4. Notes, remarks, ref. to documentation | 5. Evaluation committee’s notes |
| 1 | Blood Bank Refrigerator Specification: 4°C temperature, lockable Unit: Each Quantity: 1 Expires Date: Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 2 | Freezers Specification: -20°C capacity, frost-free Unit: Each Quantity: 1 Expires Date: Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 3 | Phlebotomy Blood Draw Chairs Specification: Adjustable armrest, padded seat Unit: Each Quantity: 1 Expires Date: Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 4 | Blood Bag Tub Sealer Specification: Portable, battery-powered Unit: Each Quantity: 1 Expires Date: Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 5 | Platelet Agitator Specification: Horizontal shaking motion Unit: Each Quantity: 1 Expires Date: Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 6 | Platelet Incubator Specification: Temperature control 22°C Unit: Each Quantity: 1 Expires Date: Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 7 | Refrigerated Centrifuge Specification: 4000 rpm, digital control Unit: Each Quantity: 1 Expires Date: Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 8 | Workbenches Specification: Stainless steel, ergonomic design Unit: Each Quantity: 1 Expires Date: Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 9 | Wheeled Specimen Transport Coolers Specification: Thermal insulation, portable Unit: Each Quantity: 1 Expires Date: Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |

LOT 7– Medical Consumables for Blood Bank

| 1. Item number | 2. Specifications required | 3. Specifications offered TO BE FILLED BY THE SUPPLIER | 4. Notes, remarks, ref. to documentation | 5. Evaluation committee’s notes |
| --- | --- | --- | --- | --- |
| 1 | Blood Bags Specification: Double bag, CPDA-1 solution Unit: Each Quantity: 200 Expires Date: Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 2 | Anticoagulant Solutions Specification: CPDA-1, 1L bottle Unit: Bottle Quantity: 10 Expires Date: Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 3 | Absorbent Specimen Tube Pouches Specification: Medical-grade, spill-resistant Unit: Each Quantity: 50 Expires Date: Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 4 | Alcohol Swabs Specification: Pre-saturated, sterile Unit: Each Quantity: 500 Expires Date: Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 5 | Biohazard Labels Specification: Adhesive, high-visibility Unit: Each Quantity: 100 Expires Date: Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 6 | Blood Unit Boot Trays Specification: Durable, spill-resistant Unit: Each Quantity: 10 Expires Date: Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED) |  |  |
| 7 | Tourniquets Specification: Latex-free, adjustable Unit: Each Quantity: 50 Expires Date: Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |
| 8 | Sharps Disposal Containers Specification: 5L capacity, puncture-resistant Unit: Each Quantity: 50 Expires Date: Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |
| 9 | Specimen Shipping Canisters Specification: Leak-proof, insulated Unit: Each Quantity: 50 Expires Date: Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |
| 10 | Specimen Transport Insulated Totes Specification: Thermal insulation, reusable Unit: Each Quantity: 5 Expires Date: Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |
| 11 | Freezer Packs Specification: Gel-based, reusable Unit: Each Quantity: 50 Expires Date: Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |
| 12 | Gauze and Bandages Specification: Sterile, absorbent Unit: Each Quantity: 500 Expires Date: Delivery: CUAMM Addis Ababa | Specification offered: Unit: Expires Date: Delivery time: (TO BE FILLED |  |  |