ANNEX II + III: TECHNICAL SPECIFICATIONS + TECHNICAL OFFER

# Contract title: Supply of biomedical  equipments

p 1 /…

Publication reference:    14/CUAMM/ETH/2025/AID 05/12282/ETH

Columns 1-2 should be completed by the contracting authority Columns 3-4 should be completed by the tenderer

Column 5 is reserved for the evaluation committee

Annex III - the contractor's technical offer

The tenderers are requested to complete the template on the next pages:

- Column 2 is completed by the contracting authority shows the required specifications (not to be modified by the tenderer),

- Column 3 is to be filled in by the tenderer and must detail what is offered (for example the words ‘compliant’ or ‘yes’ are not sufficient)

- Column 4 allows the tenderer to make comments on its proposed supply and to make eventual references to the documentation

The eventual documentation supplied should clearly indicate (highlight, mark) the models offered and the options included, if any, so that the evaluators can see the exact configuration. Offers that do not permit to identify precisely the models and the specifications may be rejected by the evaluation committee.

The offer must be clear enough to allow the evaluators to make an easy comparison between the requested specifications and the offered specifications.

Lot 1 Supply of  Bio medical equipment

| 1. Item number | 2. Specifications required | 3. Specifications offered | 4. Notes, remarks, ref to documentation | 5. Evaluation committee’s notes |
| --- | --- | --- | --- | --- |
| 1 | Fuses set European 5x20 Specification- type T Different ratings for various devices da 1A a 20A Quantity = 60 |  |  |  |
| 2 | Fuses set American 6.3x32 Specification- Different ratings for various devices da 1A a 20A Quantity = 30 |  |  |  |
| 3 | Fuses UK Specification-13A Quantity = 25 |  |  |  |
| 4 | Batteries Specification- Standard battery types (AA, AAA, 9V) Quantity = 30 |  |  |  |
| 5 | Plastic O-rings Specification- set used in mechanical seals Quantity = 20 |  |  |  |
| 6 | Final Bacterial filter Specification- Different size (for Suction, O2 concentration, ventilator) Quantity = 50 |  |  |  |
| 7 | Tubing Specification : Plastic Connector Tube different size (for Suction, O2 concentration, ventilator) Quantity = 70 |  |  |  |
| 8 | Power cables Specifications: Type F 15A fuse 13A IEC 60320 C13 Quantity = 14 |  |  |  |
| 9 | Power strip Specifications: Type F (for OR) Quantity = 10 |  |  |  |
| 10 | halogen light Specifcation: 6v 20w halogen lamp , ID:olympus cx23 (for microscope) Quantity =10 |  |  |  |
| 11 | Autoclave heater Specifcation:2000 Watt photo. ID:medicraft (for autoclave) Quantity = 13 |  |  |  |
| 12 | Light Specifcation: 24v 100w halogen (for OR lamp) Quantity = 10 |  |  |  |
| 13 | pulse oximeter sensor Specifcation: sensor, ID: red5 masimo (for Pediatrics, NICU and Emergency) Quantity = 10 |  |  |  |
| 14 | Container Specifcation: Suction 7A-23D yuwell (for suction machine) Quantity = 4 |  |  |  |
| 15 | ESU pen Specifcation: OR cut pen 3 pin, ID: beilin dgd-300b-2 Quantity = 2 |  |  |  |
| 16 | Display LCD Specifcation: with HDMI + extender , ID: sonoacex7 (for ultrasound) Quantity = 1 |  |  |  |
| 17 | Temperature sensor Specifcation: BN-100 jack connector, ID: BN-100 (For Infant warmer) Quantity = 3 |  |  |  |
| 18 | Temperature sensor jack Specifcation: female connector, ID: BN-100 (for Infant warmer) Quantity = 1 |  |  |  |
| 19 | Temperature sensor Specifcation: 3 pin connector, ID: phoenix (for Infant warmer) Quantity = 1 |  |  |  |
| 20 | Power cables Specifcation: Type G 15A fuse 13A IEC 60320 C13 (for Infant warmer) Quantity = 5 |  |  |  |
| 21 | Autoclave heater Specifcation: <2000 watt photo, ID: heuer (for autoclave) Quantity = 4 |  |  |  |
| 22 | Autoclave heater Specifcation: 3 heater < 4000Watt photo, ID: ls-b75l-I (for autoclave) Quantity = 1 |  |  |  |
| 23 | Lens Specifcation: 10x 20x 40x 100x Clarify lens type objective lens, ID: primo start (for microscope) Quantity = 1 |  |  |  |
| 24 | Relay Specifcation: 220v 15/20A, ID: sturday (for autoclave) Quantity = 2 |  |  |  |
| 25 | Radient Warmer IR lamp/Heater lamp for radiant warmer Specifcation: IR lamp/Heater lamp 600W con reflactor:, ID: phoenix (for infant warmer) Quantity = 4 |  |  |  |
| 26 | PM sensors Specifcation: accessories( ECG leads, SpO2, BP), ID:anyview a8 (for patient monitor) Quantity = 3 |  |  |  |