## Cover Page
SPECIFICATIONS AND BILL OF QUANTITIES WITH ENGINEERING ESTIMATE
PROJECT:
SIHUL SHIRE HOSPITAL ACCESSIBILITY REHABILITATION
LOCATION:
SHIRE, ETHIOPIA
OWNER:
DOCTORS WITH AFRICA- CUAMM
Prepared by:- Solomon Tesfay
2024-08-20

## preamble to BOQ
Preamble to the Bill of Quantities
1. The Bill of Quantities shall be read in conjunction with the Drawings and Technical Specifications.
2. The Bill of Quantities contains the following part Bills and Schedules:
a. Bill No. 1 – Sihul Shire Hospital Accessibility Rehabilitation
3. The Quantities given in the Bill of Quantities are estimated and provisional, and are given to provide a common basis for bidding. The estimated contract quantity of each item of works will be set at the time of contract signing. In addition to this the basis of payment will be the actual quantities of work ordered and carried out, as measured by the Contractor and verified by the Engineer and valued at the rates and prices bid in the priced Bill of Quantities, where applicable, and otherwise at such rates and prices as the Engineer may fix within the terms of the Contract.
4. The rates and prices bid in the priced Bill of Quantities shall, except insofar as it is otherwise provided under the Contract, include all Constructional Plant, Labor, supervision, materials, erection, maintenance, insurance, profit, taxes, and duties, together with all general risks, liabilities, and obligations set out or implied in the Contract.
5. A rate or price shall be entered against each item in the priced Bill of Quantities, whether quantities are stated or not. The cost of Items against which the Contractor has failed to enter a rate or price shall be deemed to be covered by other rates and prices entered in the Bill of Quantities.
6. The rates in this Bill of quantities shall consider all incidental works required to protect existing structures.
7. Items associated with a priced item necessary for its satisfactory fixing shall be considered as included in the rate of the item.
8. The rates given for Provisional Quantities (PQ) will be binding if the client decides to incorporate these works as additional works.
9. The whole cost of complying with the provisions of the Contract shall be included in the Items provided in the priced Bill of Quantities, and where no Items are provided, the cost shall be deemed to be distributed among the rates and prices entered for the related Items of Work.
10. The Overhead & risk and the gross profit for variation orders will be 35% .
11. General directions and descriptions of work and materials are not necessarily repeated nor summarized in the Bill of Quantities. References to the relevant sections of the contract documentation shall be made before entering prices against each item in the priced Bill of Quantities.
12. The method of measurement of completed work for payment shall be in accordance with Standard Methods of Measurement ECPN-4.
13. The Bill of Quantities contains items
a. Supplied and installed by the Prime contractor
b. Provisional Quantities Supplied and installed by the Prime contractor
c. Provisional Sum Items supplied by the Client and installed by the Prime Contractor
d. Provisional Sum Items Supplied and installed by Nominated Sub-contractor
14. Provisional Sums included and so designated in the Bill of Quantities shall be expended in whole or in part at the direction and discretion of the Engineer.
15. The duties and responsibilities of the Prime Contractor for items 13(b), 13(c) and 13 (d) above are deemed to be covered by the Contractor’s charge indicated in here. The duties and responsibilities of the Prime Contractor in addition to those indicated in the Bill of Quantities are:-
a. Handle and store materials at site both for prime contractor, the Client and nominated sub-contractor works.
b. Provide utilities like power, water and other necessary utilities for use by the Client and nominated sub-contractors.
c. Provide within the site transport and lifting equipment for all loading and unloading purposes and all required transportation within the site as required by the Client and nominated sub-contractors.
d. Provide scaffolding, ladder, etc. as needed
e. Execute any incidental works, like concrete work, earthwork, finishing, patching, and chiseling as required by the Client and nominated sub- contractors.
f. Removal of debris and clean the site at completion
16. Errors will be corrected by the Employer for any arithmetic errors in computation or summation as follows:
(a) where there is discrepancy between amounts in figures and in words, the amount in words will govern
(b) where there is a discrepancy between the unit rate and the total amount derived from the multiplication of the unit price and the quantity, the unit rate as quoted will govern.
17. Rock is defined as all materials which, in the opinion of the Engineer, require blasting, or the use of metal wedges and sledgehammers, or the use of compressed air drilling for their removal, and which cannot be extracted by ripping with a tractor of at least 150 brake hp with a single, rear-mounted, heavy-duty ripper.
18. A type of bonding agent used for bonding old concrete to newly fresh one should get approval before application and the cost in connection with the bonding old concrete to newly fresh one shall be born by the Contractor.
19. All provision for sanitary pipe passage, Electrical and Sanitary ducts and provision of sleeves will have to be done during concrete works as per the Electrical and Sanitary drawings and they are deemed to be included in the other rates and prices entered in the Bill of Quantities.
20. The Contractor is responsible for the detail assessment of the Site conditions and any measure to be taken is included in the rates.
21. The removal of Surplus excavated material shall be to an appropriate place away from the construction site. The contractor shall also make arrangement to damp this surplus excavated material to the owner place by the Direction of the Resident Engineer.
22. The Contractor shall submit catalogues with full description for Items under all Divisions which include, but are not limited to: Finishing Materials, Electrical, Sanitary fittings & Equipment and shall get approval by the Engineer before purchasing or ordering.
23. All Electrical and Sanitary works /installation/ shall be done by experienced staff or specialized sub-contractor or personnel who have a minimum of eight years experience with similar works & this has to be approved by the Engineer based on their CVs & educational background and certification and recommendation and/or supervision by suppliers.
24. All Electrical and Sanitary works shall be tested & commissioned prior to filling chiseled cavities, installing ceilings, covering vertical & horizontal ducts & back filling trenches. The Contractor shall be fully responsible for all systems.
25. The Prime contractor shall submit samples of all finishing materials installed by himself and by nominated sub-contractors for approval by the Engineer and the Employer.

## Summary
SUMMARY OF PRICES
01. CONCRETE WORKS | Birr | 0
02. CARPENTRY AND JOINERY | Birr | 0
03. METAL WORKS | Birr | 0
04. WALL AND FLOOR FINISHING | Birr | 0
05. PAINTING | Birr | 0
06. GLAZING | Birr | 0
07. ELECTRICAL WORKS | Birr | 0
08. MISCELLANEOUS | Birr | 0
09. MAIN GATE | Birr | 0
SERVICE SUM | Birr | 0
15% VAT | Birr | 0
GRAND TOTAL | Birr | 0
2660
|  |  | 60 | 28500
60

## BOQ
BILL OF QUANTITY - Sihul Shire Accessibility Rehabilitation
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | QUANTITY
01 | CONCRETE WORKS
1.1 | Cast in Place Concrete
Cast in place concrete is concrete premixed at a batching plant and transported to the work site or concrete whose ingredients are transported to the site and mixed just before casting in place. Provide cement, aggregate, water admixture, labor equipment and tools for cast in place concrete as required for the satisfactory installation of the works. Quality Assurance 031 Standards Comply with the following standards. ES C. D5 201General Requirement, Portland cement, ES C. D8 490Methods of Sampling and testing Portland cement, ESI ES C. D3 201Normal Concrete aggregate, ESI ASTM C260 Air-entraining admixtures, ASTM C494 Water-reducing, retarding and accelerating admixtures. ASTM C94Mixing water for concrete. ASTM C330 Light weight aggregate for structural concrete
1.1.1 | 50mm thick C-5 lean concrete with minimum cement content of 150kg/m3 of concrete under
1.1.1.1 | Under CURBSTONE | m2 | 29.25 |  | 0
1.1.2 | REINFORCED CONCRETE GRADE C-25 (25 MPa) cast into formworks and vibrated around rod reinforcement bars. NB: Form work and reinforcement steel will measured elsewhere.
1.1.2.1 | C-15 10cm thick mass concrete pavement. Cost should include hardcore and 7cm Select material
1.1.2.1.1 | Walkway from Emergency Area to Corridor Leading to Maternity Ward | m2 | 16 |  | 0
1.1.2.1.2 | Walkway from Management office to Medical Ward | m2 | 45 |  | 0
1.1.2.1.3 | Walkway from Main Gate to Central Laboratory | m2 | 30 |  | 0
1.1.2.1.4 | Walkway around Garden in front of the Hospital | m2 | 42 |  | 0
1.1.2.2 | Curbstone size 150x400mm |  |  |  | 0
1.1.2.2.1 | Walkway from Main Hospital Corridor to Central Laboratory | ml | 50 |  | 0
1.1.2.2.2 | Walkway from Central Laboratory to Management office | ml | 25 |  | 0
1.1.2.2.3 | Walkway from Management office to Medical Ward | ml | 45 |  | 0
1.1.2.2.4 | Walkway from Main Gate to Central Laboratory | ml | 50 |  | 0
1.1.2.2.5 | Walkway around Garden in front of the Hospital | ml | 25 |  | 0
01 | SUB TOTAL CONCRETE WORK ETH BIRR |  |  |  | 0
02 | CARPENTRY & JOINERY
2.1 | Carpentry and Ceiling Works
2.1.1 | Supply and fix 8 mm thick chip wood ceilings as per the Engineer's approval. Price shall include (40x50)mm wooden battens with c/c spacing of 600 mm both ways, middle and corner list, and all other necessary accessories. [DAMAGED PARTS ONLY]
2.1.1.1 | Emergency Main Entrance Area | m² | 60.97 |  | 0
2.1.1.2 | Emergency Waiting Area | m² | 91 |  | 0
2.1.1.3 | Corridor Leading to Maternity Ward | m² | 15 |  | 0
2.1.1.4 | Main Corridor of the Hospital | m² | 50 |  | 0
2.1.1.5 | Gynecology Corridor | m² | 5 |  | 0
02 | SUB TOTAL CARPENTRY AND JOINERY WORK ETH BIRR |  |  |  | 0
03 | METAL WORK
3.1 | Aluminum doors
Aluminum doors made of 1.6 mm thick extruded profiles. The aluminum profiles shall be of approved color with brushed finish cuts. Manufacturing of the doors is subject to the approval of shop drawings to be provided by the Contractor. Price shall include 6mm thick nonreflective tinted glass, approved type of locks, door stopper and handle. Hinges, Locks, Profiles and all important accessories should be approved by the Engineer.
Standards Comply with the following standard. Hot dip galvanized coating on iron and steel articles BS 729 Anodic oxidation coating on Aluminum BS 1615 Anodic oxide coating on Aluminum for external architectural application BS 3987 Wrought steel for mechanical & allied engineering purposes BS 970
3.1.1 | Corridor Leading to Maternity Ward
3.1.1.1 | Main Access Door size 180*265cm | No | 1 |  | 0
3.1.1.2 | Emergency Area Door size 3.50*265cm | No | 1 |  | 0
3.1.1.3 | Access to the Garden Door size 180*265cm | No | 1 |  | 0
3.1.1.4 | Emergency Laboratory Door size 115*210cm | No | 1 |  | 0
3.1.1.5 | OR Door size 230*265cm | No | 1 |  | 0
3.1.1.6 | Emergency Laboratory Additional Door size 120*210cm | No | 1 |  | 0
3.1.1.7 | OR Additional Door size 90*210cm | No | 1 |  | 0
3.1.1.8 | X-Ray Room Door size 120*210cm | No | 1 |  | 0
3.1.1.9 | MCH Door size 260*210cm | No | 1 |  | 0
3.1.1.10 | MCH Additional Door size 120*210cm | No | 1 |  | 0
3.1.1.11 | X-Ray Room Additional Door size 120*210cm | No | 1 |  | 0
3.1.1.12 | Adult ICU Door size 240*210cm | No | 1 |  | 0
3.1.1.13 | Ultrasound Room Door size 90*210cm | No | 1 |  | 0
3.1.2 | Main Corridor of the Hospital
3.1.2.1 | Maternity Door size 300*265cm | No | 1 |  | 0
3.1.2.2 | OR Additional Door size 3.00*265cm | No | 1 |  | 0
3.1.2.3 | Adult ICU Additional Door size 100*210cm | No | 1 |  | 0
3.1.2.4 | Exit Door size 300*265cm | No | 1 |  | 0
3.1.2.5 | Ultrasound Additional Door size 80*210cm | No | 1 |  | 0
3.1.2.6 | Duty Room Door size 80*210cm | No | 1 |  | 0
3.1.2.7 | Gynecology Door size 300*265cm | No | 1 |  | 0
3.1.2.8 | Medical Director Door size 90*210cm | No | 1 |  | 0
3.1.2.9 | Dental size 90*210cm | No | 1 |  | 0
3.1.2.10 | Rear Garden Door size 180*265cm | No | 1 |  | 0
3.1.2.11 | Front Garden Door size 280*265cm | No | 1 |  | 0
3.1.2.12 | Liaison Office Door size 90*210cm | No | 1 |  | 0
3.1.2.13 | INP Pharmacy Door size 150*210cm | No | 1 |  | 0
3.1.2.14 | INP Additional Door size 90*210cm | No | 1 |  | 0
3.1.2.15 | Latrine Door size 90*210cm | No | 1 |  | 0
3.1.2.16 | Surgical Ward size 300*265cm | No | 1 |  | 0
3.1.2.17 | Exit Door size 300*265cm | No | 1 |  | 0
3.1.2.18 | Rear Garden Door size 180*265cm | No | 1 |  | 0
3.1.2.19 | Manager Secretary Door size 90*210cm | No | 1 |  | 0
3.1.2.20 | Staff Dining Door size 300*265cm | No | 1 |  | 0
3.1.2.21 | Pediatric Ward Door size 300*265cm | No | 1 |  | 0
3.1.2.22 | Exit Door size 225*265cm | No | 1 |  | 0
3.1.2.23 | Access to Central Laboratory Door size 225*265cm | No | 1 |  | 0
3.1.3 | Gynecology Corridor
3.1.3.1 | Access to NICU Door size 300*265cm | No | 1 |  | 0
3.2 | Aluminum Windows
Aluminum windows made of 1.6 mm thick extruded profiles. The aluminum profiles shall be of approved color with brushed finish cuts. Manufacturing of the windows is subject to the approval of shop drawings to be provided by the Contractor. Price shall include 6mm thick nonreflective tinted glass, approved type of locks and handle. Hinges, Locks, Profiles and all important accessories should be approved by the Engineer.
3.2.1 | Corridor Leading to Maternity Ward
3.2.1.1 | ﻿﻿﻿Window to Rear Garden size: W=100cm H=180cm | No | 2 |  | 0
3.2.1.2 | ﻿﻿﻿Window to Rear Garden size: W=130cm H=180cm | No | 1 |  | 0
3.2.2 | Main Corridor of the Hospital
3.2.2.1 | ﻿﻿﻿Window to Maternity Waiting Area size: W=200cm H=180cm | No | 2 |  | 0
3.2.2.2 | ﻿﻿﻿Window to Rear Garden size: W=200cm H=180cm | No | 2 |  | 0
3.3 | Metal Handrail
Supply and fix 90cm high Metal Handrail with 2 vertical 40*40*3mm RHS posts buried in 30cm concrete foundation at a spacing of 1.5m, a horizontal member 40*40*3mm RHS and a diagonal member 30*30*3mm RHS connecting them. Price shall include anchor works, excavation, cartaway, two coats of anti rust and three coats of synthetic enamel paint and the necessary works and materials to fulfill the job.
3.3.1 | Walkway from Main Hospital Corridor to Central Laboratory | ml | 70 |  | 0
3.3.2 | Walkway from Central Laboratory to Management office | ml | 25 |  | 0
3.3.3 | Walkway from Management office to Medical Ward | ml | 60 |  | 0
3.3.4 | Walkway from Main Gate to Central Laboratory | ml | 60 |  | 0
3.3.5 | Garden in front of the Hospital | ml | 161 |  | 0
03 | SUB TOTAL FOR METAL WORK ETH BIRR |  |  |  | 0
04 | WALL AND FLOOR FINISHINGS
4.1 | PLASTERING & POINTING
Finishing work includes all surface pre cleaning, removal of mortar by chiseling, making good edges of columns and beams, preparation of grooves b/n surface where ever indicated, preparation and application of finish, polishing and cleaning after end of work.
4.1.1 | Cement Mortar Plastering to internal wall. Plaster shall be applied in two coats of mortar with the following ratio: First coat: 1 Part cement to 2.5 parts aggregate by volume. Second Coat: 1 Part of cement to 3 parts of aggregate by volume. The work includes chiseling for vertical concrete wall, columns and vertical beams. |  |  |  | 0
4.1.1.1 | Emergency Waiting Area | m2 | 40 |  | 0
4.2 | Wall and floor finish
4.2.1 | Supply and fix 600X600X10mm Porcelain ceramic floor tiles of approved sizes and quality with cement mortar backing and joints grouted in colored cement. Pattern, color and quality shall be approved by the Engineer.
4.2.1.1 | Emergency Waiting Area | m2 | 169 |  | 0
4.2.2 | 100x10mm porcelain ceramic skirting stuck to wall with cement mortar (1:3)mix.
4.2.2.1 | Emergency Waiting Area | Lm | 60 |  | 0
4.2.3 | Supply and fix 450X450X9mm Non slippery ceramic floor tiles of approved sizes and quality with cement mortar backing and joints grouted in colored cement. Pattern, color and quality shall be approved by the Engineer.
4.2.3.1 | Emergency Entrance Area | m2 | 46.9 |  | 0
4.2.3 | 5cm Cement Screed Flooring
4.2.3.1 | Walkway from Main Hospital Corridor to Central Laboratory | m2 | 105 |  | 0
4.2.3.2 | Walkway from Central Laboratory to Management office | m2 | 75 |  | 0
4.2.4 | Make Good Ceramic Tiles
4.2.4.1 | Corridor Leading to Maternity Ward | m2 | 126 |  | 0
4.2.4.2 | Main Corridor of the Hospital | m2 | 360 |  | 0
4.2.4.3 | Gynecology Corridor | m2 | 55.5 |  | 0
04 | SUB TOTAL FINISHING WORK ETH BIRR |  |  |  | 0
05 | PAINTING
5.1 | Supply and Apply three coats of acrylic emulsion paint to internal plastered wall surfaces. Cost includes cleaning both surfaces and fixing all cracks with Masonry Filler. Color to be approved by the Architect/Engineer.
5.1.1 | Emergency Waiting Area and Triage | m2 | 255.99 |  | 0
5.1.2 | Corridor leading to Maternity Ward | m2 | 385.145 |  | 0
5.1.3 | Main Corridor of the Hospital | m2 | 611.66 |  | 0
5.1.4 | Gynecology Corridor | m2 | 180.425 |  | 0
5.2 | Supply and Apply three coats of weather resistant emulsion paint to chipwood ceiling. Color to be approved by the Architect/Engineer.
5.2.1 | Emergency | m2 | 151.97 |  | 0
5.2.2 | Corridor leading to Maternity Ward | m2 | 126 |  | 0
5.2.3 | Main Corridor of the Hospital | m2 | 216 |  | 0
5.2.4 | Gynecology Corridor | m2 | 55.5 |  | 0
5.3 | Supply and Apply two coats of anti rust and three coats of synthetic enamel paint to the existing handrails and to Metal Structures along the main hospital routes
5.3.1 | Handrails
5.3.1.1 | Walkway from Main Gate to Central Laboratory | ml | 22 |  | 0
5.3.1.2 | Garden in front of the Hospital | ml | 296 |  | 0
5.3.2 | Metal Structure
5.3.2.1 | Along Corridor connecting Gynecology and NICU | m2 | 25.6 |  | 0
5.3 | Supply and Apply three coats of weather resistant emulsion paint to external wall surface of the Main Hospital Entrance
5.3.1 | Emergency Entrance | m2 | 184 |  | 0
05 | SUB TOTAL PAINTING WORK ETH BIRR |  |  |  | 0
06 | GLAZING
6.1 | Supply and fix 6 mm thick clear sheet glass to windows and doors. Price shall include putty and all the necessary fixing accessories.
6.1.1 | Emergency Waiting Area broken parts of Main Door 5.60x2.65m | m2 | 4.452 |  | 0
6.1.2 | Emergency Waiting Area broken parts of 4 Doors sized 2.30x2.65m | m2 | 12.19 |  | 0
06 | SUB TOTAL GLAZING ETH BIRR |  |  |  | 0
07 | ELECTRICAL INSTALLATION
Supply, Install and Test all Electrical Systems: Power Distribution Boards with Circuit Breakers, Light Fittings with Lamps, Switches, Outlets and Others including required items and accessories. All items shall be Industry standard and approved equivalent types.
7.1 | Flush Mounted Socket Outlets with Earth Contact
7.1.1 | Flush mounting socket outlet of 16A 1Phase.
7.1.1.1 | Emergency Waiting Area | No | 4 |  | 0
7.2 | Light Fittings
Supply, Connect and Test lamps and complete accessories.
7.2.1 | Panel LED 60x60 24W, 3500lm lf 30000hr 4000k
7.2.1.1 | Emergency Waiting Area | No | 9 |  | 0
7.2.1.2 | Corridor Leading to Maternity Ward | No | 11 |  | 0
7.2.1.3 | Main Corridor of the Hospital | No | 16 |  | 0
7.2.1.4 | Gynecology Corridor | No | 5 |  | 0
7.3 | Extra Over Light Points for Flush Mounted Switches
7.3.1 | Flush mounting single switch 774001+774041
7.3.1.1 | Emergency Waiting Area | No | 4 |  | 0
7.3.1.2 | Corridor Leading to Maternity Ward | No | 5 |  | 0
7.3.1.3 | Main Corridor of the Hospital | No | 10 |  | 0
7.3.1.4 | Gynecology Corridor | No | 3 |  | 0
07 | SUB TOTAL FOR ELECTRICAL WORK ETH BIRR |  |  |  | 0
08 | MISCELLANEOUS
8.1 | Signage
8.1.1 | EMERGENCY [1mx2m] including Metal Structure | No | 1 |  | 0
8.1.2 | Door Signage along accessibility route | No | 37 |  | 0
8.2 | Stickers for Doors
8.2.1 | Emergency Area
8.2.1.1 | Main Door 560x265cm | No | 1 |  | 0
8.2.1.2 | Left and Right of Main Door 100x265cm | No | 2 |  | 0
8.2.1.3 | Adult Emergency Department Door 230x265cm | No | 1 |  | 0
8.2.1.4 | Child Emergency Department Door 230x265cm | No | 1 |  | 0
8.2.1.5 | Child Emergency Department Door 100x265cm | No | 2 |  | 0
8.2.2 | Triage
8.2.2.1 | Door size 100x265cm | No | 3 |  | 0
8.2.2.2 | Window size 100x180cm | No | 1 |  | 0
8.2.2.3 | Window size 100x100cm | No | 2 |  | 0
8.2.3 | Back Side of Emergency Area [Garden side]
8.2.3.1 | Door size 560x265cm | No | 1 |  | 0
8.2.3.2 | Door size 230x265cm | No | 2 |  | 0
8.3 | Walkways
8.3.1 | Repair Existing Stone pavement [Main Entrance to Central Laboratory] | m2 | 14.4 |  | 0
8.3.2 | New Stone pavement [Main Entrance to Central Laboratory] | m2 | 20 |  | 0
8.3.3 | Supply, Spread & Compact Red Ash [Garden in front of the Hospital] | m³ | 12.8 |  | 0
08 | SUB TOTAL FOR MISCELLANEOUS WORK ETH BIRR |  |  |  | 0
09 | MAIN GATE
9.1 | Repalce the hospital main gate (2*(3m*2.40m) using a 40mm*60mm*3mm RHS frame and 40mm*40mm*3mm RHS supports (Spacing between 2 supports should be < = 100mm), use a heavy duty roller bearing on bottom of the 2 sides. The price shall include dismantling the existing gates, Supply and installation of hinges, bolts, latches, and lock system, Application of primer coat (anti-rust primer), Application of two coats of enamel paint (weather resistant), rails, rollers, all related concrete works for the gate and the rails. This intervention needs engineer approval. | No | 1
9.1.2 | Repalce the hospital small access gates 2 PCS of (1m*2.40m)using a 40mm*60mm*3mm RHS frame and 40mm*40mm*3mm RHS supports (Spacing between 2 supports should be < = 100mm). Price shall include dismantling the existing gates, Supply and installation of hinges, bolts, latches, and lock system, Application of primer coat (anti-rust primer), Application of two coats of enamel paint (weather resistant) and all related concrete works. This intervention needs engineer approval. | No | 2 |  | 0
9.2 | Metalic signage (70cm*1060cm), above the main gate of the hospital using a (80mm*80mm*3mm)metallic poles, 40mm*40mm*3mm RHS supports and 1.2 mm sheet metal, Price shall include dismantling the existing sign post, Application of primer coat (anti-rust primer), Application of two coats of enamel paint (weather resistant), all related concrete works, and writing the contents on the metalic signage. This intervention needs Pre - approval from the hospital. | No | 1 |  | 0
09 | SUB TOTAL FOR MAIN GATE ETH BIRR |  |  |  | 0

## TO-1
Description
Plastering
1 | 4 |  | Emergency Waiting Area
| 10 | 40
|  | 40 | m2
Painting
Internal Wall
Emergency Waiting Area and Triage
2 | 13
| 4 | 104
Deduct Openings
-2 | 2.3 |  | Doors
| 2.65 | -12.19
2 | 13
| 4 | 104
Doors
-2 | 2.3
| 2.65 | -12.19
Doors
-2 | 5.6
| 2.65 | -29.68
Partition Wall
1 | 10
| 4 | 40
Doors/Windows
-3 | 2.65
| 1 | -7.95
Above Part
4 | 2.5
| 7 | 70
|  | 255.99 | m2
Corridor Leading to Maternity Ward
2 | 5
| 42 | 420 | Along the 2 sides of the Corridor
2 | 3
| 3 | 18 | Above the doors
Deduct Openings
-1 | 3.5
| 2.65 | -9.275 | Emergency
-1 | 1.8
| 2.65 | -4.77 | Access to Rear Garden - No signage
-1 | 1.15
| 2.1 | -2.415 | 23-Emergency Laboratory
-1 | 2.3
| 2.65 | -6.095 | 25-OR
-1 | 1.2
| 2.1 | -2.52 | Additional access to Emergency Laboratory - No signage
-1 | 0.9
| 2.1 | -1.89 | Additional access to OR - No signage
-1 | 1.2
| 2.1 | -2.52 | 22- x-ray room
-1 | 2.6
| 2.1 | -5.46 | 26- MCH
-1 | 1.2
| 2.1 | -2.52 | Additional access to MCH - No signage
-1 | 1.2
| 2.1 | -2.52 | Additional access to X-Ray Room - No signage
-1 | 2.4
| 2.1 | -5.04 | 27 - Adult ICU
-1 | 0.9
| 2.1 | -1.89 | 21 - Ultrasound
-2 | 1
| 1.8 | -3.6 | Window 1 - No signage
-1 | 1.3
| 1.8 | -2.34 | Window 2 - No signage
|  | 385.145 | m2
Main Corridor of the Hospital
2 | 72
| 5 | 720 | Along the 2 sides of the Corridor
2 | 3
| 3 | 18 | Above doors
-1 | 3
| 2.65 | -7.95 | 28 - Maternity
-1 | 3
| 2.65 | -7.95 | Additional access to OR -No signage
-1 | 1
| 2.1 | -2.1 | Additional access to Adult ICU - No signage
-2 | 2
| 1.8 | -7.2 | Windows towards Maternity Waiting Area - No signage
-1 | 1.8
| 2.65 | -4.77 | Door to Maternity Waiting Area
-1 | 3
| 2.65 | -7.95 | Exit
-1 | 0.8
| 2.1 | -1.68 | Additional access to Ultrasound - No signage
-1 | 0.8
| 2.1 | -1.68 | Duty Room
-1 | 3
| 2.65 | -7.95 | 29 - NICU/CSEC Post-OP
-1 | 0.9
| 2.1 | -1.89 | 20 - Medical Director
-1 | 0.9
| 2.1 | -1.89 | 19 - Dental
-1 | 1.8
| 2.65 | -4.77 | Door to Rear Garden - No signage
-1 | 2.8
| 2.65 | -7.42 | Door to Front Garden - No signage
-1 | 0.9
| 2.1 | -1.89 | 18 - Liaison Office
-1 | 1.5
| 2.1 | -3.15 | 17 - INP Pharmacy
-1 | 0.9
| 2.1 | -1.89 | Additional access to INP Pharmacy - No signage
-1 | 0.9
| 2.1 | -1.89 | Latrine - No signage
-1 | 3
| 2.65 | -7.95 | Surgical Ward
-1 | 3
| 2.65 | -7.95 | Exit
-2 | 2
| 1.8 | -7.2 | Windows towards Garden - No Signage
-2 | 1.8
| 2.65 | -9.54 | Door to Rear Garden - No signage
-2 | 0.9
| 2.1 | -3.78 | Secretary
-1 | 3
| 2.65 | -7.95 | Dinning Room
-1 | 3
| 2.65 | -7.95 | 31 - Pediatric Ward
|  | 611.66 | m2
Gynecology Corridor
2 | 18.5
| 5 | 185 | Along the 2 sides of the Corridor
2 | 3
| 3 | 18 | Above doors
-6 | 1.2
| 2.1 | -15.12
-3 | 0.75
| 2.1 | -4.725
-2 | 0.65
| 2.1 | -2.73
|  | 180.425 | m2
Chipwood Ceiling
Emergency
1.3 | 7
| 6.7 | 60.97
1 | 3
| 7 | 21
2 | 3
| 10 | 60
10 | 1
| 1 | 10
|  | 151.97 | m2
Corridor Leading to Maternity Ward
1 | 42
| 3 | 126
|  | 126 | m2
Main Corridor of the Hospital
1 | 72
| 3 | 216
|  | 216 | m2
Gynecology Corridor
1 | 18.5
| 3 | 55.5
|  | 55.5 | m2
Entrance Gate
1 | 5 |  | Main Gate
| 2.6 | 0
2 | 1
| 2.2 | 0 | Walk In Gates
|  | 0 | m2
External Paint
Emergency
1 | 10
| 6 | 60 | front
3 | 2
| 7 | 42 | sides
8 | 1
| 5 | 40 | columns
1 | 7
| 6 | 42 | back
|  | 184 | m2
4, Floor Finish
Ceramic Tile
Emergency Entrance Area
7
6.7
|  | 46.9 | m2
Porcelain Tile
Emergency Waiting Area
13
13
|  | 169 | m2
STEEL WORK
Truss Work
Handrail
Walkway from Main Hospital Corridor to Central Laboratory
1 | 15
| 2 | 30
2 | 20
| 1 | 40
|  | 70 | ml
Walkway from Central Laboratory to Management office
1 | 25
| 1 | 25
|  | 25 | ml
Walkway from Management office to Medical Ward
2 | 30
| 1 | 60
|  | 60 | ml
Walkway from Main Gate to Central Laboratory
1 | 30
| 1 | 30
2 | 5
| 1 | 10
2 | 10
| 1 | 20
|  | 60 | ml
Garden in front of the Hospital
1 | 30
| 1 | 30
2 | 25
| 1 | 50
1 | 47
| 1 | 47
1 | 34
| 1 | 34
|  | 161 | ml

## Rebar (hidden)
| 8 | 10 | 12 | 14 | 16 | 20 | 24
Bm 3 | 246.4385 |  |  | 124.1
BM 2 | 120.3577 |  |  | 72.1
| 278.6538 |  |  | 135.18
Bm A | 63.8077 |  |  | 28.2
BM B | 128.6538 |  |  | 67.8
BM C | 128.0769 |  |  | 68.4
BM D | 128.0769 |  |  | 83.6
MB H | 200.7692 |  |  | 94.9
BM F | 122.3077 |  |  | 55.9
| 39.2308 |  |  | 25.85
BM E | 115.3846 |  |  | 63.7
BM G | 167.3077 |  |  |  | 53.8 | 123.2
BM 1 | 159.2308 |  |  | 33.4 | 41.6
| 57.6923 |  |  | 31.7
| 123.4615 |  |  |  | 26.6 | 34.2
BM 4 | 271.1538 |  |  | 68.15 | 71.6
BM 2 | 308.0769 |  |  |  | 70.5 | 76.3
| 140.7692 |  |  | 34 | 43.1
BM 3 | 182.3077 |  |  |  | 61.4 | 59.65
BM B | 245.7692 |  |  |  | 53.2 | 63
BM C | 265.3846 |  |  |  | 12.8 | 161.6
BM D | 276.9231 |  |  |  | 63.8 | 87.9
BM E | 152.3077 |  |  |  | 41.15 | 58.4
BM G | 227.3077 |  |  |  | 56.7 | 75.5
BM F | 191.5385 |  |  |  | 42.6 | 65.6
BM H | 189.2308 |  |  |  |  | 119.7
BM 1 Arc | 121.1538 |  |  |  | 8.1 | 115.2
BM 4 arc | 211.1538 |  |  |  | 18.2 | 213.8
BM I' | 139.6154 |  |  |  | 31.8 | 39.2
at elev 3, 8, 12
BM 1 | 626.5385 |  |  |  | 161.1 | 185.4
| 491.5385 |  |  |  | 124.8 | 211.8
BM 2 | 443.0769 |  |  |  |  | 356.1
| 408.4615 |  |  |  | 101.7 | 135.9
BM 3 | 1045.3846 |  |  |  |  | 649.5
BM C | 778.8462 |  |  |  | 187.8 | 219.3
BM 4 | 1125 |  |  |  | 291.6 | 349.5
BM D | 810 |  |  |  | 190.2 | 306.6
BM G | 681.9231 |  |  |  | 174.9 | 227.1
BM H | 571.1538 |  |  |  | 117.3 | 139.5
BM E | 363.4615 |  |  | 105.6 | 106.5
BM E&F | 369.2308 |  |  |  | 150.6 | 248.4
| 242.3077 |  |  |  | 61.2 | 177.6
BM E | 138.4615 |  |  |  | 30.6 | 53.4
BM A | 461.5385 |  |  | 25.8 | 336 | 57.6
BM 1&2 Arc | 706.1538 |  |  |  | 139.2 | 812.4
BM 4 arc | 634.6154 |  |  |  | 234 | 279.6
BM I' | 272.3077 |  |  |  | 94.2 | 128.4
TYP
BM 3 | 2090.7692 |  |  |  |  | 1299
BM 2 | 886.1538 |  |  |  |  | 712.2
| 816.9231 |  |  |  | 203.4 | 271.8
BM 1 | 630 |  |  |  | 84.6 | 194.4
BM H | 1142.3077 |  |  |  | 306.6 | 411
BM D | 1107.6923 |  |  |  | 355.2 | 232.8
BM F&G | 2450.7692 |  |  |  | 168.3 | 858
BM F | 572.3077 |  |  |  | 192 | 285.6
| 184.6154 |  |  |  |  | 155.4
BM 1 Arc | 1412.3077 |  |  |  | 278.4 | 1624.8
BM 4 arc | 1278.4615 |  |  |  | 234 | 726.6
BM C&I' | 1089.2308 |  |  |  | 376.8 | 513.6
Total | 28833.6808 | 0 | 0 | 1118.38 | 5397.95 | 13116.55 | 0