ANNEXII+III:TECHNICALSPECIFICATIONS+TECHNICALOFFER

Contracttitle: Supply of Medical Drugs, Consumables and Equipment

p1/…

Publicationreference: 31/CUAMM/ETH/2025/OTTOPERMIL

AnnexIII-the contractor's technical offer

The tenderersarerequestedtocompletethetemplateonthenextpages:

- Column2iscompletedbythecontractingauthorityshowstherequiredspecifications(nottobemodifiedbythetenderer),

- Column3istobefilledinbythetendererandmustdetailwhatisoffered(forexamplethewords‘compliant’or‘yes’arenotsufficient)

- Column4allowsthetenderertomakecommentsonitsproposedsupplyandtomakeeventualreferencestothedocumentation

Theeventualdocumentationsuppliedshouldclearlyindicate(highlight,mark)themodelsofferedandtheoptionsincluded,ifany,sothattheevaluatorscanseetheexactconfiguration.Offersthatdonotpermittoidentifypreciselythemodelsandthespecificationsmayberejectedbytheevaluationcommittee.

The offer must be clear enoughtoallowtheevaluatorstomakeaneasycomparisonbetweentherequestedspecificationsandtheofferedspecifications.

LOT 1–Supply of Medical Drugs

| 1. Item number | 2. Specifications required | 3. Specifications offered TO BE FILLED BY THE SUPPLIER | 4. Notes, remarks, ref. to documentation | 5. Evaluation committee’s notes |
| --- | --- | --- | --- | --- |
|  | Drug Name:Adrenaline (Epinephrine) - 0.1% in 1ml ampoule –Injection Specifications: Unit: pk of 10ampoule Quantity: 200 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  |  |  |
|  | Drug Name:Albendazole - 100mg/5ml – Oral Suspension-60ml Specifications: Unit: bottle Quantity: 500 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  |  |  |
|  | Drug Name:Amoxicillin + Clavulanic acid 228.5mg/5ml Oral suspension-100ml Specifications: Unit:bottle Quantity: 1000 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  |  |  |
|  | Drug Name:Amoxicillin 250mg/5ml Oral suspension-100ml Specifications: Unit:bottle Quantity: 1500 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  |  |  |
|  | Drug Name:Ampicillin Sodium 500mg powder for injection Specifications: Unit: pk of 50 Vials Quantity: 100 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  |  |  |
|  | Drug Name:Azithromycin 200mg/5ml suspension -15ml Specifications: Unit: bottle Quantity: 340 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  |  |  |
|  | Drug Name:Ceftriaxone 1gm injection IV/IM with diluent Specifications: Unit: Vial Quantity: 2000 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  |  |  |
|  | Drug Name:Cephalexin - 250mg/5ml –oral suspension Specifications: Unit: bottle Quantity: 500 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  |  |  |
|  | Drug Name:Ciprofloxacin 500mg/100ml oral suspension Specifications: Unit: bottle Quantity: 300 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  |  |  |
|  | Drug Name:Dextrose - 40% in 20ml - Intravenous Infusion Specifications: Unit: vials Quantity: 500 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  |  |  |
|  | Drug Name:Dextrose in Water - 5% - Intravenous Infusion with Giving Set-1000ml Specifications: Unit: bag of 1000ml Quantity: 216 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  |  |  |
|  | Drug Name:Erythromycin - 200 mg/5 ml - Oral Suspension-100ml Specifications: Unit: bottle Quantity: 200 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  |  |  |
|  | Drug Name:Ferrous Sulfate - 250mg/5ml – oral suspension Specifications: Unit: bottle Quantity: 200 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  |  |  |
|  | Drug Name:Heam up syrup-200ml Specifications:600 Unit: bottle Quantity: 100 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  |  |  |
|  | Drug Name:KCL Intravenous 10mEq Specifications: Unit: Ampoule Quantity: 20 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  |  |  |
|  | Drug Name:Metronidazole - 1250mg/5ml – oral suspension Specifications: Unit: bottle Quantity: 500 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  |  |  |
|  | Drug Name:Metronidazole - 5mg/ml - Intravenous Infusion-100ml Specifications: Unit: bag of 100ml Quantity: 500 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  |  |  |
|  | Drug Name:Miconazole -2%- Oral Gel-40mg Specifications: Unit: tube Quantity: 170 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  |  |  |
|  | Drug Name:Nystatin 100,000 IU/ml oral drop Specifications: Unit: bottle Quantity: 100 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  |  |  |
|  | Drug Name:Ondanestron 2mg/ml Injection Specifications: Unit: Vial Quantity: 100 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  |  |  |
|  | Drug Name:Paracetamol - 120mg/5ml – Syrup-60ml Specifications: Unit: bottle Quantity: 1200 Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa |  |  |  |

LOT 2–Supply of Medical supply

| 1. Item number | 2. Specifications required | 3. Specifications offered TO BE FILLED BY THE SUPPLIER | 4. Notes, remarks, ref. to documentation | 5. Evaluation committee’s notes |
| --- | --- | --- | --- | --- |
|  | Consumable name:Adhesive Plaster Zinc Oxide - 7.5cmx10m Specification: Unit: roll Quantity:150 Expires Date: More than one year Delivery: CUAMM Addis Ababa |  |  |  |
|  | Consumable name:Alchool 70% 1000ml Specification: Unit: litter Quantity:100 Expires Date: More than one year Delivery: CUAMM Addis Ababa |  |  |  |
|  | Consumable name:Cannula Intravenous Set - 22G Specification: Unit: box of 100 Quantity:50 Expires Date: More than one year Delivery: CUAMM Addis Ababa |  |  |  |
|  | Consumable name:Cannula Intravenous Set - 24G Specification: Unit: box of 100pcs Quantity:100 Expires Date: More than one year Delivery: CUAMM Addis Ababa |  |  |  |
|  | Consumable name:Naso Gastric Tube Sterile Infant - 4CH Specification: Unit: each Quantity:400 Expires Date: More than one year Delivery: CUAMM Addis Ababa |  |  |  |
|  | Consumable name:Naso Gastric Tube Sterile Infant - 6CH Specification: Unit: Each Quantity:400 Expires Date: More than one year Delivery: CUAMM Addis Ababa |  |  |  |
|  | Consumable name:Nasal Prong Pediatric Specification: Unit: Each Quantity:50 Expires Date: More than one year Delivery: CUAMM Addis Ababa |  |  |  |
|  | Consumable name:Syringe (Disposable) - 10ml with needle 21G Specification: Unit: box of 100pcs Quantity: 50 Expires Date: More than one year Delivery: CUAMM Addis Ababa |  |  |  |
|  | Consumable name:Syringe (Disposable) - 5ml with needle 21G Specification: Unit: box of 100pcs Quantity:100 Expires Date: More than one year Delivery: CUAMM Addis Ababa |  |  |  |

LOT 3 –Supply of Medical Equipment

| 1. Item number | 2. Specifications required | 3. Specifications offered TO BE FILLED BY THE SUPPLIER | 4. Notes, remarks, ref. to documentation | 5. Evaluation committee’s notes |
| --- | --- | --- | --- | --- |
| 1 | ### Name: Volumetric Perfuser Unit: each Quantity:1 Delivery: CUAMM, Jinka Field office #### Device Type: - Volumetric infusion pump for precise fluid delivery in clinical settings #### Flow Rate Adjustment: - Adjustable flow rate typically ranging from 0.1 ml/hr to 1200 ml/hr - Fine control to allow accurate infusion therapy #### Alarm System: - Built-in alarms for: - Occlusion/blockage detection - Air-in-line detection - Low battery warning - Infusion complete alert - Power failure alarm #### Power Supply: - Dual power sources: - Rechargeable battery-operated with minimum 4–6 hours backup time - AC power supply compatible with standard hospital power outlets Display: - Clear digital display showing flow rate, volume infused, time remaining, and status alerts #### User Interface: - Intuitive controls with keypad or touchscreen - Lockable settings to prevent accidental changes #### Accuracy: - Infusion accuracy of ±5% or better #### Safety Features: - Automatic shut-off on alarm triggers - Anti-free flow mechanism to prevent accidental overdose |  |  |  |
| 2 | ### Name: Stainless Steel IV Stand Unit: each Quantity:25 Delivery: CUAMM, Jinka Field office #### Material: - Made of high-quality stainless steel for durability, corrosion resistance, and easy cleaning #### Height Adjustment: - Adjustable height ranging approximately from 90 cm to 180 cm - Smooth and secure locking mechanism for height fixation #### Mobility: - Equipped with 4 swivel caster wheels for easy movement within healthcare facilities #### Base: - Stable, wide base (e.g., 5-star base) to prevent tipping over - Base diameter approximately 60–70 cm for balance. |  |  |  |
| 3 | Name: Height/length measuring board Unit: each Quantity: 8 Delivery: CUAMM, Jinka Field office #### Type: - Portable or fixed height/length measuring board for accurate measurement of patient height or infant length #### Material: - Constructed from wood - Smooth surface for easy cleaning and disinfection #### Accuracy: - Measurement precision to within ±0.5 cm #### Design Features: - Flat and rigid board for stable patient positioning - Movable headpiece or sliding footpiece to ensure correct measurement - Non-slip base or wall-mounted options available |  |  |  |
| 4 | ### Hospital Patient Electric Heater Unit: each Quantity: 3 Delivery: CUAMM, Jinka Field office #### Type: - Floor-standing electric heater specifically designed for hospital or clinical use #### Heating Capacity: - Power output: 1000W to 2000W - Capable of heating a standard patient room or ward area efficiently #### Thermostat Control: - Equipped with digital or analog adjustable thermostat - Allows for precise temperature regulation as per patient needs #### Safety Features: - Automatic shut-off in case of overheating or tipping - Overheat protection sensor - Optional tip-over safety switch #### Design & Portability: - Floor-standing design with a stable, wide base - Mounted on wheels or casters for easy relocation within the facility - Lightweight and compact for space-saving use #### Display & Controls: - Simple user-friendly control panel - On/off switch and temperature control dial or digital buttons - LED or indicator lights for power and heat status #### Power Source: - Operates on standard AC power (220V–240V or per local requirement) #### Noise Level: - Low-noise operation to maintain a quiet environment conducive to patient recovery |  |  |  |
| 5 | ### Name: HemoCue Hb 201+ Microcuvettes (Strips of 50 pieces) Unit: each Quantity:150 pk Delivery: CUAMM, Jinka Field office #### Product Type: - Disposable microcuvettes designed specifically for use with the HemoCue Hb 201+ hemoglobin analyzer Sample Volume: - Designed to hold 10 µL of whole blood (capillary, venous, or arterial) #### Shelf Life: - Minimum 12 months from manufacturing date - Expiry date clearly indicated on packaging #### Usage: - For single-use only - Provides accurate and reliable hemoglobin measurements when used with HemoCue Hb 201+ machine #### Compatibility: - Exclusively compatible with HemoCue Hb 201+ hemoglobin analyzers |  |  |  |
| 6 | Name: Hb 201+ Hemoglobin Analyzer Unit: each Quantity: 6 Delivery: CUAMM, Jinka Field office #### Device Type: - Portable hemoglobin analyzer for point-of-care testing (quantitative measurement) #### Sample Type & Volume: - Capillary, venous, or arterial whole blood - Sample volume: 10 µL #### Measurement Range: - 0 to 25.6 g/dL (0 to 256 g/L) #### Accuracy: - High precision and accuracy conforming to international laboratory standards Display: - Digital LCD display showing hemoglobin concentration - Simple and clear readout #### Testing Time: - Results available within 10 seconds |  |  |  |
| 7 | ### Name: Glucometer Test Strips of 50 pcs Unit: Pk Quantity: 170 pk Delivery: CUAMM, Jinka Field office (Compatible with standard portable glucometer devices, 50 strips per pack) #### Product Type: - Disposable blood glucose test strips for use with compatible digital glucometer devices #### Compatibility: - Must be specifically compatible with the brand/model of glucometer used (to be specified by procurement or health facility) Packaging: - 50 test strips per pack - Individually sealed or in an airtight vial - Packaging to be moisture-resistant and light-protected #### Sample Volume Requirement: - Requires 0.5 µL to 1.5 µL of capillary whole blood #### Reading Time: - Suitable for glucometers with a 5–10 second result display time #### Shelf Life: - Minimum 12–24 months from date of manufacture - Expiry date clearly marked on packaging |  |  |  |
| 8 | ### Name: Glucometer Machine (Portable Blood Glucose Monitoring Device) Unit: each Quantity:10 Delivery: CUAMM, Jinka Field office #### Device Type: - Portable digital glucometer for point-of-care blood glucose testing #### Measurement Range: - 20 to 600 mg/dL (1.1 to 33.3 mmol/L) #### Accuracy: - ±15% of lab value ≥100 mg/dL - ±15 mg/dL for values <100 mg/dL #### Display: - LCD or digital screen - Easy-to-read display with large digits - Backlight optional for low-light conditions #### Sample Type & Size: - Capillary whole blood - Sample volume: 0.5 to 1.5 µL #### Test Time: - Results available within 5–10 seconds #### Memory: - Stores at least 100–500 test results with date and time |  |  |  |
| 9 | ### Name: Standard Manual Hospital Bed with Mattress Unit: each Quantity: 6 Delivery: CUAMM, Jinka Field office #### Bed Type: - Manual hospital bed with mechanical crank system - Suitable for general patient care in hospitals, health centers. #### Frame Material: - Constructed from mild steel or high-strength powder-coated steel - Rust-resistant and easy to clean #### Bed Dimensions: - Length: 200–210 cm - Width: 90–100 cm - Height (from floor to bed platform): 45–60 cm (adjustable) #### Adjustment Features: - 2-Function Manual Adjustment using hand cranks: - Backrest elevation: 0–75° - Knee rest elevation: 0–35° - Cranks located at foot-end, foldable for safety and storage #### Mattress Platform: - Perforated steel sheet or metal mesh platform for ventilation - Reinforced with crossbars for strength and durability #### Side Rails: - Collapsible or swing-away side rails (aluminum or steel) - Secure locking mechanism for patient safety #### Head and Foot Boards: - Made from ABS plastic, wood-laminate, or powder-coated steel - Detachable for emergency procedures and cleaning #### Casters/Wheels: - Four heavy-duty swivel casters (125 mm or larger) - At least two wheels with brakes for secure positioning #### Mattress Included: - High-density foam mattress, medical-grade - Thickness: 10–12 cm - Covered with waterproof, antibacterial, and fire-retardant PVC or synthetic leather - Dimensions match the bed frame #### Load Capacity: - Minimum 150–200 kg safe working load |  |  |  |
| 10 | ### Name: Bed Screen (Hospital Privacy Screen) Unit: each Quantity: 5 Delivery: CUAMM, Jinka Field office Type: - Portable folding bed screen for patient privacy Frame Material: - Made of mild steel or aluminum alloy - Powder-coated or epoxy-painted for durability and corrosion resistance Panels: - Three to four panels (standard) Panel Dimensions (Each): - Approx. 60 cm wide x 150–180 cm high - Full extended length: approx. 180–240 cm Curtain Material: - Washable, flame-retardant, and anti-bacterial fabric |  |  |  |
| 11 | ### Name :Digital Thermometer Unit: each Quantity:30 Delivery: CUAMM, Jinka Field office Type: - Electronic digital thermometer (oral, axillary, or rectal use) Measurement Range: - 32°C to 42.9°C (89.6°F to 109.2°F) Accuracy: - ±0.1°C (±0.2°F) Display: - Digital LCD screen - Clear and easy-to-read numbers Power Source: - Battery-operated - Long battery life with auto shut-off to conserve power Alert System: - Audible beep when measurement is complete Memory Function: - Optional: Recalls last temperature reading |  |  |  |
| 12 | ### Name: Littmann Pediatric Stethoscope Unit: each Quantity: 9 Delivery: CUAMM, Jinka Field office Brand: - 3M Littmann (Pediatric model) Head Type: - Dual-head chestpiece - Tunable diaphragm on one side and open bell on the other - Specifically designed for pediatric use (smaller diaphragm diameter) Chestpiece Material: - Stainless steel construction for durability and high acoustic sensitivity Diaphragm: - Tunable technology – allows both low- and high-frequency sounds by adjusting pressure - Non-chill rim for patient comfort Tubing: - High-quality, latex-free, and resistant to skin oils and alcohol - Single-lumen tubing with excellent sound transmission Ear Tips: - Soft-sealing ear tips for comfort and excellent acoustic seal - Snap-tight and easily replaceable Binaurals: - Angled, adjustable stainless steel headset - Designed for optimal ear canal alignment |  |  |  |
| 13 | ### Name: Rechargeable Pulse Oximeter Unit: each Quantity:13 Delivery: CUAMM, Jinka Field office Type: - Handheld or fingertip Pulse Oximeter Display: - Digital OLED or LCD screen - Displays SpO₂ (% oxygen saturation) and PR (pulse rate in bpm) Measurement Range: - SpO₂: 0% – 100% (±2% accuracy between 70%–100%) - Pulse Rate: 30 – 250 bpm (±2 bpm accuracy) Power Supply: - Rechargeable battery (Lithium-ion preferred) - Battery backup: Minimum 8–12 hours continuous operation on full charge Alarms and Indicators: - Audible and visual alarms for low oxygen, abnormal pulse, or low battery - Battery status indicator Sensor Type: - Integrated or detachable finger sensor - Suitable for adults and children (multi-size probe optional) Data Storage / Memory: - Internal memory to store previous readings Portability: - Compact, lightweight, and easy to carry - Durable and suitable for bedside and field use |  |  |  |
| 14 | ### Name: Electronic Digital Weighing Scale (up to 150 kg) Unit: each Quantity:11 Delivery: CUAMM, Jinka Field office Maximum Capacity: - 150 kg Graduation / Accuracy: - 100 grams (0.1 kg) Display Type: - Digital LCD display - Backlit for clear visibility Power Supply: - Battery-operated ,Auto Shut-Off Feature: Tare Function: - supports tared weighing to subtract the weight of containers or other items Units of Measurement: - Primarily kilograms (kg) |  |  |  |