ANNEX II + III: TECHNICAL SPECIFICATIONS + TECHNICAL OFFER

Contract title: Invite for Assessment of Oxygen Supply in Blacklion Specialized Hospital NICU Ward		p 1 /…

Publication reference: 44/CUAMM/ETH/2025/AID12882

Columns 1-2 should be completed by the contracting authority Columns 3-4 should be completed by the bidder

Column 5 is reserved for the evaluation committee

Annex III - the contractor's technical offer

The bidders are requested to complete the template on the next pages:

- Column 2 is completed by the contracting authority shows the required specifications (not to be modified by the bidder),

- Column 3 is to be filled in by the bidder and must detail what is offered (for example the words ‘compliant’ or ‘yes’ are not sufficient)

- Column 4 allows the bidder to make comments on its proposed supply and to make eventual references to the documentation

The eventual documentation supplied should clearly indicate (highlight, mark) the models offered and the options included, if any, so that the evaluators can see the exact configuration. Offers that do not permit to identify precisely the models and the specifications may be rejected by the evaluation committee.

The offer must be clear enough to allow the evaluators to make an easy comparison between the requested specifications and the offered specifications.

| 1. Item number | 2. Specifications required | 3. Specifications offered TO BE FILLED BY THE SUPPLIER | 4. Notes, remarks, ref. to documentation | 5. Evaluation committee’s notes |
| --- | --- | --- | --- | --- |
|  | - Assessment Report: A detailed report summarizing findings on pipeline capacity and oxygen supply adequacy. - Recommendations: Clear recommendations outlining various options and approaches for upgrading the ward’s medical gas supply system. - Implementation Plan: Providing Technical design, Specification, Bill of quantity and Cost estimation for any necessary upgrades or changes to oxygen infrastructure for each option provided |  |  |  |