ANNEXII+III: TECHNICALSPECIFICATIONS+TECHNICALOFFER

Contract title: Supply of Biomedical Spare parts	p1/…

Publication reference: 46/CUAMM/ETH/2025/AID 05/12282/ETH

Columns1-2shouldbecompletedbythecontractingauthorityColumns3-4shouldbecompletedbythetenderer

Column5isreservedfortheevaluationcommittee

Annex III- the contractor's technical offer

The tenderers are requested to complete the template on the next pages:

- Column2iscompletedbythecontractingauthorityshowstherequiredspecifications(nottobemodifiedbythetenderer),

- Column3 is to be filled in by the tenderer and must detail what is offered (for example the words ‘compliant’ or ‘yes’ are not sufficient)

- Column4allowsthetenderertomakecommentsonitsproposedsupplyandtomakeeventualreferencestothedocumentation

The eventual documentation supplied should clearly indicate highlight, mark) the models offered and the options included, if any, so that the evaluators can see the exact configuration. Offers that do not permit to identify precisely the model sand the specifications may be rejected by the evaluation committee.

The offer must be clear enough to allow the evaluators to make an easy comparison between the requested specifications and the offered specifications.

Lot 6-Tools for Biomedical Workshop in Suhul GH

| 1. Item number | 2. Specifications required | 3. Specifications offered TO BE FILLED BY THE SUPPLIER | 4. Notes, remarks, ref. to documentation | 5. Evaluation committee’s notes |
| --- | --- | --- | --- | --- |
|  | Air Filter Flat Specifications: rectangular about 20cmx10cm Unit: each Quantity: 10 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Delivery time: (TO BE FILLED) |  |  |
|  | Autoclave heater Specifications: 2Kw 230V 2 connerctor (distance 5cm) 180° Unit: each Quantity: 2 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Delivery time: (TO BE FILLED) |  |  |
|  | Autoclave heater Specifications:2kW 230V 2 connerctor angle 90°C Unit: each Quantity: 7 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Delivery time: (TO BE FILLED) |  |  |
|  | Autoclave heater Specifications:851 Unit: each Quantity: 3 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Delivery time: (TO BE FILLED) |  |  |
|  | BP cuff Specifications:Adult(8) and pediatric(2) Unit: each Quantity: 10 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Delivery time: (TO BE FILLED) |  |  |
|  | Cables RCA Specifications:Jack-Jack Unit: each Quantity: 2 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Delivery time: (TO BE FILLED) |  |  |
|  | Cables RS232 Specifications:D15-D15/D15-D9 Unit: each Quantity: 2 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Delivery time: (TO BE FILLED) |  |  |
|  | Cables RS232 Specifications:D9– D9 Unit: each Quantity: 4 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Delivery time: (TO BE FILLED) |  |  |
|  | Connectors Specifications:DIN Unit: each Quantity: 10 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Delivery time: (TO BE FILLED) |  |  |
|  | Diode Specifications:1N4007 1A Unit: each Quantity: 10 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Delivery time: (TO BE FILLED) |  |  |
|  | ECG cable Specifications: connector RS232 D15 Unit: each Quantity: 2 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Delivery time: (TO BE FILLED) |  |  |
|  | Electrolytic capacitor Specifications:100µF–1000µF,25V–100V,radial,temperature≥105°C Unit: each Quantity: 30 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Delivery time: (TO BE FILLED) |  |  |
|  | Faston Terminal Specifications: Female 2.8/4.8/6.3 Unit: box Quantity: 3 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Delivery time: (TO BE FILLED) |  |  |
|  | Fuse Specifications: Small size 1A-5A Unit: each Quantity: 30 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Delivery time: (TO BE FILLED) |  |  |
|  | Glass Jar Specifications:2.5L with lid Unit: each Quantity: 4 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Delivery time: (TO BE FILLED) |  |  |
|  | Ground cable Specifications:with clamp Unit: each Quantity: 15 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Delivery time: (TO BE FILLED) |  |  |
|  | Hallogen Bulbs Specifications:6V 20W Unit: each Quantity: 15 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Delivery time: (TO BE FILLED) |  |  |
|  | Hallogen Bulbs Specifications:24V 100W Unit: each Quantity: 15 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Delivery time: (TO BE FILLED) |  |  |
|  | Hallogen Bulbs Specifications:6v 10w OSRAM 70313 P47d Base P35 Unit: each Quantity: 4 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Delivery time: (TO BE FILLED) |  |  |
|  | Heat Shrink tubing Specifications: different size Unit: box Quantity: 1 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Delivery time: (TO BE FILLED) |  |  |
|  | Heater autoclave 80L Specifications: Unit: each Quantity: 3 Expires Date: N/A Delivery: CUAMM Addis Abab | Specification offered: Unit: Delivery time: (TO BE FILLED) |  |  |
|  | Indicator LEDs Specifications:Red,green,blue,white Unit: each Quantity: 20 Expires Date: N/A Delivery: CUAMM Addis Abab | Specification offered: Unit: Delivery time: (TO BE FILLED) |  |  |
|  | JST Female Specifications:2–6 pin, 2.0-3 mm pitch, housing + terminals Unit: each Quantity: 3 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Delivery time: (TO BE FILLED) |  |  |
|  | Mosfet Specifications:IRF540N(N-channel) Unit: each Quantity: 10 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Delivery time: (TO BE FILLED) |  |  |
|  | Mosfet Specifications:IRF9540(P-channel) Unit: each Quantity: 10 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Delivery time: (TO BE FILLED) |  |  |
|  | One way valves Specifications:Plastic,6-10mm Unit: each Quantity: 10 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Delivery time: (TO BE FILLED) |  |  |
|  | Power Board Anesthesia Specifications:Model SNP H069M Unit: each Quantity: 2 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Delivery time: (TO BE FILLED) |  |  |
|  | Power Board centrifuge Specifications:Model fy2403000 input100-240V1.5A output 24V Unit: each Quantity: 1 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Delivery time: (TO BE FILLED) |  |  |
|  | Power Board PM Specifications: Unit: each Quantity: 1 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Delivery time: (TO BE FILLED) |  |  |
|  | Power Board radiant warmers Specifications:SMPS V18101607 Unit: each Quantity: 2 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Delivery time: (TO BE FILLED) |  |  |
|  | Power Board refrigerator Specifications: Unit: each Quantity: 2 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Delivery time: (TO BE FILLED) |  |  |
|  | Power cable with transformer Specifications:2.5L with lid Unit: each Quantity: 1 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Delivery time: (TO BE FILLED) |  |  |
|  | Power Swiches Specifications:ON/OFF standard toggle swiches Unit: each Quantity: 13 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Delivery time: (TO BE FILLED) |  |  |
|  | Power Transistor Specifications:(BJT)(TIP122 (NPN Darlington), TIP127 (PNP)) Unit: each Quantity: 10 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Delivery time: (TO BE FILLED) |  |  |
|  | Relay Specifications:250 VAC 30VDC 10A Unit: each Quantity: 5 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Delivery time: (TO BE FILLED) |  |  |
|  | Semi automated chemistry light Specifications:6V 10W Unit: each Quantity: 3 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Delivery time: (TO BE FILLED) |  |  |
|  | Silicone Tubing Specifications:6mm–12mm, medical grade, 1m Unit: each Quantity: 15 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Delivery time: (TO BE FILLED) |  |  |
|  | Solid State Relay Specifications:25A 250A Unit: each Quantity: 9 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Delivery time: (TO BE FILLED) |  |  |
|  | Stainless Screws Specifications:M3-M5 assorted Unit: each Quantity: 100 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Delivery time: (TO BE FILLED) |  |  |
|  | Swiching Power supply Specifications:HF40W-SL-29 Unit: each Quantity: 3 Expires Date: N/A Delivery: CUAMM Addis Ababa |  |  |  |
|  | Table remote Specifications: Unit: each Quantity: 3 Expires Date: N/A Delivery: CUAMM Addis Ababa |  |  |  |
|  | Temperature Sensor Specifications: connector gray/yellow Unit: each Quantity: 5 Expires Date: N/A Delivery: CUAMM Addis Ababa |  |  |  |
|  | Temperature Sensor Specifications: connector jack Unit: each Quantity: 5 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Delivery time: (TO BE FILLED) |  |  |
|  | Transformer 12V Specifications:12V/220V small size, 30-100VA Unit: each Quantity: 4 Expires Date: N/A Delivery: CUAMM Addis Ababa |  |  |  |
|  | Transformer Specifications:input220/out put 15V 0.33A/0.2A15v Unit: each Quantity: 2 Expires Date: N/A Delivery: CUAMM Addis Ababa |  |  |  |
|  | Transformer 24V Specifications:220V/24V small size, 30-100VA Unit: each Quantity: 6 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Delivery time: (TO BE FILLED) |  |  |
|  | Varistor Specifications:275 V big size 14mm Unit: each Quantity: 20 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Delivery time: (TO BE FILLED) |  |  |
|  | Varistor Specifications:275Vsmall size 5mm Unit: each Quantity: 20 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Delivery time: (TO BE FILLED) |  |  |
|  | Wheels Specifications:Lockable, plate-mounted Unit: each Quantity: 10 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Delivery time: (TO BE FILLED) |  |  |
|  | Wheels Specifications:Lockable, threaded stem M10-M12 Unit: each Quantity: 6 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Delivery time: (TO BE FILLED) |  |  |
|  | Wire Specifications:1.5 mm² – 2.5 mm² (AWG 16–13) Unit: each Quantity: 2 Expires Date: N/A Delivery: CUAMM Addis Ababa |  |  |  |
|  | Wire Specifications:0.5 mm² – 1 mm² (AWG 20–17) Unit: each Quantity: 2 Expires Date: N/A Delivery: CUAMM Addis Ababa | Specification offered: Unit: Delivery time: (TO BE FILLED) |  |  |